MWMWMW

AMENDMENT SHEET

| Date | Doc No | Page/ Section | Description of Change | Revision No | Approval |
| --- | --- | --- | --- | --- | --- |

ABBREVIATIONS

CRM	-	Certified Reference Materials

QC	-	Quality Control

RM	-	Reference Materials

SLAB	-	Sri Lanka Accreditation Board for Conformity Assessment

LIMS 	- 	Laboratory Information Management Systems

NVQ	-  	National Vocational Qualification Framework

SLQF 		 -	Sri Lanka Qualifications Framework

| CONTENTS |
| --- |
| Sl | Title | Page |
| Abbreviations | i |
| Contents | ii |
| 1. | Introduction | 4 |
| 2. | Scope | 5 |
| 3 | Normative Reference | 6 |
| 4 | Terms and Definitions | 7 |
| 5 | Standard Requirements | 10 |
|  | Appendix A – Minimum competency requirements | 14 |
|  | Annex 01 – Applicable Product group in Forensic Testing | 22 |
|  | Annex 02 – Applicable Product group in Mechanical Testing | 25 |
|  | Annex 03 – Applicable Product group in Chemical Testing | 35 |
|  | Annex 04 – Applicable Product group in Biological Testing | 36 |
|  | Annex 05 - Biosafety levels | 40 |

- INTRODUCTION

  - The requirements for accreditation are laid down in the International Standard ISO/IEC 17025: General requirements for the competence of testing and calibration laboratories. These requirements apply to all types of testing, but in certain instances additional guidance is needed to streamline the accreditation process and take into account of the specific type of testing and the technologies involved.

  - This document has been prepared by the Technical Advisory Committee on Testing laboratories and approved by the Council of Sri Lanka Accreditation Board (SLAB). It supplements ISO/ IEC 17025 standard and provides specific guidance on the accreditation of Chemical, biological, mechanical, Electrical and Forensic testing laboratories for the use of assessors and applicant and accredited laboratories.

  - This document covers the application of the ISO/ IEC 17025 for accreditation of testing laboratories in the field of Chemical, Biological, Mechanical, Electrical and Forensic and applicable to products groups as given in Appendix A to E.

  - This document should be read in conjunction with the ISO/IEC 17025:2017 and Rules and Procedures of SLAB.

- SCOPE

Accreditation of Testing laboratories includes Forensic Science, Chemical, Biological, Mechanical and electrical testing laboratories.

The scope of accreditation of SLAB is applicable to the following disciplines/areas of activity in the

Tentative list of applicable product groups for Forensic Testing shown in Annexure – 01.

Tentative list of applicable product groups for Mechanical Testing are shown in Annexure – 02

Tentative list of applicable product groups for Chemical Testing are shown in Annexure – 03 Tentative list of applicable product groups for Biological Testing are shown in Annexure – 04

Accreditation in additional disciplines may be offered in future as per requirement.

- NORMATIVE REFERENCES

- ISO/IEC 17025 – General requirements for the competency of testing and calibration laboratories

- ILAC-G19:08/2014 - Modules in a Forensic Science Process

- ILAC guidelines……..

- TERMS AND DEFINITIONS

  - Competence

Competence is the demonstrated ability to apply knowledge and skills and, where relevant, demonstrated personal attributes.

  - Court Statement

A Court statement is a written document or any other acceptable format of the results and interpretations of forensic tests/examinations submitted to the court. Such reports may be in a format prescribed in legislation and may also be in electronic format. In addition, a copy of the court statement may be submitted to law enforcement investigators, members of the judiciary and other relevant authorities.

  - Equipment –

Equipment refers to all measuring instruments, software, measurement standards, reference materials, reference data, reagents, consumables or auxiliary apparatus that require the correct performance of the laboratory activities.

  - Non-conforming examination and testing

Non-conforming examination and testing refers to any aspect of the forensic unit’s work, including, scene examination, laboratory examination, sampling, testing, results or expert witness testimony that do not conform to the forensic unit’s policies, procedures or the agreed requirements of the customer. Examples are using equipment that is out of specification, misidentifying a drug or incorrectly interpreting a blood pattern.

  - Reference Material

A reference material is a material, sufficiently homogeneous and stable with respect to one or more specified properties, which has been established to be fit for its intended use in a measurement process.

  - Testing

Testing is used in the document when there is an activity including measurements and analytical techniques.

4.7   Decision Rule

Rule that describes how measurements uncertainty is accounted for when stating conformity with a specified requirements.

4.8  Risk

Effect of uncertainty on objectives

5.0. STANDARD   REQUIREMENTS

  - IMPARTIALITY & CONFIDENTIALITY

The requirements of ISO/IEC 17025 clause 4.1 & 4.2 apply.

Laboratory shall have documentations to fulfil these requirements.

  - STRUCTURAL REQUIREMENTS

The requirements of ISO/IEC 17025 clause 5 apply.

  - RESOURCE REQUIREMENTS

5.3.1    Personnel

The requirements of ISO/IEC 17025 clause 6.2 apply.

The management shall define each role in the laboratory and specify minimum competency requirements each role.

Personnel work in the laboratory to be competent to perform assigned tasks. Competencies to be proved during the assessment. Records for maintaining competencies shall be available.  The assessment of competence may take a variety of forms, dependent on the task(s) performed e.g. written and / or oral examinations; practical exercises; or direct observation by a qualified person. In many cases, some combination of continuous competency assessment will be the most appropriate approach.

Records must be sufficiently detailed to show that staff who involve in testing/ any activity have been properly trained, that their subsequent ability to perform assigned task(s) has been fully assessed /training evaluated and that they have been authorized to perform work independently.

For Forensic laboratories, Court Testimony Monitoring

The laboratory must have and follow a documented procedure whereby the testimony of each examiner is monitored regular basis. Areas that must be covered in the evaluation include appearance, poise, performance, effectiveness of presentation.   The monitoring procedure must also prescribe the remedial action that is to be taken should the evaluation be less than satisfactory. A record must be kept of each evaluation.

Minimum competency requirements for each field of testing are given in Appendix A.

Technical Management

The officer in charge of a laboratory technical management, must be suitably qualified with a sound knowledge of the principles of the test, be able to provide adequate supervision and competent to handle all technical matters related to the laboratory activities.

Quality management

A person to establish, document, maintain and improve the management system, irrespective of other duties and responsibilities assigned to him/her. The quality manager competent person with a  Science background and having experience in quality management system maintain and direct access to the highest level of the management.

5.3.2   Facilities and Environmental Conditions

The requirements of ISO/IEC 17025 clause 6.3 apply.

One of the key responsibility of the laboratory management is to provide an adequate and safe working environment. Laboratory facilities should reflect due consideration of space, design, security, fire, health and safety (Biological safety, Laser safety, radiation safety) and waste management (biological, chemical and hazardous  etc). Laboratory management is responsible to provide adequate personnel Protective Equipment (PPE) to the staff.  Where appropriate, the laboratory should have safety showers and eye wash equipment of suitable locations and in good working condition.

When radioactive and X-ray work are performed, detectors must be used regularly to monitor radiation levels and the wearing of film badges by staff may be necessary.

Staff must be advised of immunization and other appropriate precautionary measures.  It is recommended that relevant records be kept.

Applicable government legislations to be fulfilled.

5.3.3  Equipment

The requirements of ISO/IEC 17025 clause 6.4 apply

5.3.4 Metrological traceability

The requirements of ISO/IEC 17025 clause 6.5 apply

5.3.5 Externally provided products and services

The requirements of ISO/IEC 17025 clause 6.6 apply

All services obtained by the laboratory to be considered.

5.4 PROCESS REQUIREMENTS

5.4.1 Review of Requests, Tenders and Contracts

The requirements of ISO/IEC 17025 clause 7.1 apply

5.4.2 Selection, Verification and Validation of method

The requirements of ISO/IEC 17025 clause 7.2 apply

The performance characteristics  to be determined by the laboratory  for every test method perform at the laboratory and suitability of the method for their particular needs and matrixes to be documented.   It may include; a) Selectivity & specificity b) Range c) Linearity d) Sensitivity e) Limit of Detection f) Limit of Quantitation g) Ruggedness h) Accuracy i) Precision 5

5.4.3 Sampling

The requirements of ISO/IEC 17025 clause 7.3 apply

5.4.4 Handling of test items

The requirements of ISO/IEC 17025 clause 7.4 apply

5.4.5 Technical records

The requirements of ISO/IEC 17025 clause 7.5 apply

The information that is to be included in records shall be documented appropriately and may include, but not be limited to, records of any communication with the customers (verbal or written), contract review, examination and testing requested and agreements with customer, exhibit/sample receipts, descriptions of exhibits /sample including packaging and seals, subpoenas, records of observations and test/examination results, reference to procedures used, diagrams, maps, print-outs, photographs, videos etc.

5.4.6 Evaluation of measurement uncertainty

The requirements of ISO/IEC 17025 clause 7.6 apply

5.4.7 Ensuring the validity of results

The requirements of ISO/IEC 17025 clause 7.7 apply

Policy for Participation in External Quality Assurance activities  (AC-RG(P)-02) is apply.

Quality control procedures must be documented. Where appropriate, quality control data must be recorded in such a way that trends in analysis can be readily evaluated

5.4.8 Reporting of results

The requirements of ISO/IEC 17025 clause 7.8 apply

    - Complaints

The requirements of ISO/IEC 17025 clause 7.9 apply.

For Forensic Laboratories,

Note: The term “appeal” in this document should not be confused with the use of “appeal” in a legal sense. Appeals and the appeals process in the context of this document is an internal process of the forensic unit whose result is being appealed against. The decision on the appeal remains that of the forensic unit that is being appealed against, and does not require a hearing or decision on the appeal by some external agency or court.

5.4.10 Non Conforming Work

The requirements of ISO/IEC 17025 clause 7.10 apply.

    - Control of data and information management

The requirements of ISO/IEC 17025 clause 7.11 apply.

If the laboratory has implemented LIMS it should be validated and access control.  User guides to be available.

  - MANAGEMENT SYSTEM REQUIREMENTS.

The requirements of ISO/IEC 17025 clause 8  apply.

If the laboratory follows Option A , Laboratory shall maintain management system as per ISO 9001 requirements. If the laboratory is certified as per ISO 9001 same system can be use. Internal audit of the laboratory to be covered ISO 9001 requirements and ISO/IEC 17025 requirements.

If the laboratory follows Option B, Laboratory shall maintain management system documentation as per ISO/IEC 17025 clauses.

    - Management system documentation

The requirements of ISO/IEC 17025 clause 8.2 apply

    - Control of management system documents

The requirements of ISO/IEC 17025 clause 8.3 apply

The requirements for the accessibility and control of documents apply to permanent   facilities and also to all sites or locations where work is performed, e.g. scene of crime.

    - Control of records

The requirements of ISO/IEC 17025 clause 8.4 apply

The forensic testing shall have documented procedures to create and maintain records relating to each case under investigation.

Retention time of the records to be complied to national information security regulations.

    - Actions to address risks and opportunities

The requirements of ISO/IEC 17025 clause 8.5 apply

    - IMPROVEMENT

The requirements of ISO/IEC 17025 clause 8.6 apply.

Laboratory can initiate and implement improvements in conjunction with risk and opportunities. clause 8.5.

    - CORRECTIVE ACTION

The requirements of ISO/IEC 17025 clause 8.7 apply.

    - INTERNAL AUDITS

The requirements of ISO/IEC clause 8.8 apply.

The internal audit shall be conduct at least annually to cover all standard requirements.  Witnessing of tests/ any activity perform the laboratory personnel witnessed to be during the internal audit.

Test/activities which are infrequently encountered may require other means by which to confirm competence, e.g. mock incident or other types of simulations, market sample analysis, etc. Other activities which take place for the purpose of confirming competence.

    - MANAGEMENT REVIEW

The requirements of ISO/IEC 17025 clause 8.9 apply.

Appendix A

Minimum competency requirements

| Field of Testing | Task | Educational qualification | Training | Experience & Skill |
| --- | --- | --- | --- | --- |
| Forensic Testing |
| Forensic Testing |  | Qualification | Training | Skill, experience |
|  | Crime Scene Investigation | Graduates in science or equivalent qualifications related to the field | Training on same task | Three years, experience and proven skill. |
|  | Digital Forensics (Audio, Video, Biometrics and Computer analysis) | Graduates in computer science or information technology or equivalent qualifications related to the field | Training on same task | one year Experience and proven skill |
|  | DNA Analysis | Graduates in Biological science or equivalent qualifications related to the field . | Training at least 6 months. | 06 months in relevant work and proven skill |
|  | Fire investigations, Firearms and Ballistics, Handwriting and Questioned Documents, Forensic miscellaneous, Forensic trace evidence analysis, Explosives, Marks and Impressions | Graduates in science (with Chemistry / Physics as a subject) or equivalent qualifications related to the field | Same task for one year | One year relevant work experience with proven skill |
| Forensic Testing | Forensic medicine and pathology , Histopathology, Anthropology, Medical Toxicology, Clinical forensic medicine | Medical graduate with MBBS or equivalent qualification recognized by Sri Lanka Medical Council (SLMC). | - | - |
|  | Fingerprints | Graduates in science or equivalent qualifications related to the field | Training at least 6 months | One year experience with proven skill |
|  | Forensic Odontology | Graduates in Dental Surgery (DSc) postgraduate qualification in forensic odontology from a recognized university and registered at Sri Lanka Medical Council (SLMC). | Required training period according to the concurrence of Board of study in Forensic Medicine and Dental surgery by PGIM, University of Colombo. | - |
|  | Forensic Toxicology, Narcotics and Psychotropic substances | Graduates in science (with Chemistry as a subject) or equivalent qualifications related field | Training on relevant field at least 6 months. | One year experience with proven skill |
|  | Forensic Serology | Graduates in science with Chemistry and biology or equivalent qualifications. | On the job training | Six month relevant work experience. |
| Forensic Testing | Forensic entomology | Graduate in biological science or equivalent qualification preferably with forensic entomology as a component from a recognized university / institution approved by the UGC. or Postgraduate in forensic entomology from a recognized university / institution approved by the UGC. . |  | 03 year experience in the relevant field 02 year experience in the relevant field |
|  | Forensic Psychology | Graduate in Clinical Psychology or equivalent qualification preferably with criminal or forensic psychology as a component from a recognized university / institution approved by the UGC. Or Postgraduate in forensic psychology from a recognized university / institution approved by the UGC. | Training on relevant field at least 6 months. | 01 year experience |
| Biological Testing |
| Biological Testing | Test perform (Analysts) | Degree in microbiology or bio science or an equivalent qualifications Or G.C.E. Advanced Level examination with biology as a subject and Diploma/ Certificate in Laboratory Technology in Biology/Microbiology equivalent to NVQ 05 or G.C.E O/L examination with Science with Diploma/ Certificate in Laboratory Technology in Biology/Microbiology equivalent to NVQ 05 | Training on relevant test methods to be performed. | Three months experience |
|  |  |  |  | Minimum 6 months relevant experience related to the microbiology field and proven skill One year experience |
|  | Authorized Signatory for test report on general microbiology reports | Graduate in Science with microbiology as one of the subjects or equivalent qualifications | Training on relevant tests to be authorized | 3 years experience in the field 2 years experience in the field or proven skills |
|  | Authorized Signatory for test report on risk group 2 and above | Graduate/post graduate in Microbiology |  |  |
|  | Providing opinion & interpretations/ compliances | Graduate in Microbiology Post graduate degree in Microbiology | Training on relevant tests & knowledge on manufacturing of relevant products, legislative requirements and understanding of the significance of deviations found and applicable decision rule | 4 years experience in the field or proven skills 3 years experience in the field or proven skills |
| Mechanical and Electrical Testing |
| Mechanical, Electrical Testing | Testing staff/ Analysts | Six passes in GCE (O/L) with passes in Science /mathematics Or | Field specific technical training | Three years experience in the field or proven skills |
|  |  | GCE A/L examination with Physics as a subject Or | Field specific technical training | One year experience in the field or proven skills |
|  |  | Diploma in Laboratory Technology in Physical testing or any other relevant qualification equivalent to National Vocational Qualification (NVQ) level 05 | Field specific technical training | Nine experience in the field or proven skills |
|  |  | Graduates in Science (with Physics as a subject) | Training on relevant technical field | Minimum 03 months or proven skills |
|  | Authorized Signatory | Graduates in Science (with Physics ) or engineering, or with special training on specifically on the field or equivalent qualifications such as NVQ level or equivalent) | Training on relevant technical field | Three years relevant work experience |
|  | Providing opinion & interpretations/ compliances | Graduates in Science (with Physics as a subject) with special training on specifically on the field or engineering or equivalent qualifications such as NVQ level 07 or equivalent) Post graduate degree in Microbiology | Training on relevant technical field and knowledge on applicable manufacturing / application of relevant products/ materials | Four years relevant work experience 3 years experience in the field or proven skills |
| Chemical Testing |
| Chemical Testing | Testing staff/ Analysts | GCE A/L examination with chemistry as a subject Or | Training on relevant technical field | One year experience in the field or proven skills |
|  |  | Diploma in Laboratory Technology in Chemistry or equivalent qualifications such as NVQ level 05 or equivalent | Training on relevant technical field | Six months experience in the field or proven skills |
|  |  | Graduates in Science with Chemistry Or equivalent qualifications such as NVQ level 07 or equivalent | Training on relevant technical field | Adequate on the job training (minimum 03 months) or proven skills |
|  | Authorized Signatory | Graduates in Science with Chemistry or equivalent qualifications such as NVQ level 07 or equivalent | Training on relevant technical field | Three years relevant work experience |

Level of equivalent qualification required will be finally decided by the Accreditation Committee.  Competency evaluation of authorized signatories will be carried out as per the score and competency based on GUIDELINE FOR EVALUATION OF SIGNATORIES FOR LABORATORY ACCREDITATION TL-GL(P) -09. and score of the interview.

Annex 01:

a) Applicable Product group in Forensic Testing

Forensic Science Laboratories

1.      Crime Scene Investigation

- Digital Forensics (Audio, Video, Biometrics and Computer analysis)

- DNA Analysis

- Explosives

- Fingerprints

- Marks and Impressions

- Fire investigations

- Firearms and Ballistics

- Forensic medicine and pathology

  - Clinical forensic medicine

  - Forensic Histopathology

  - Forensic anthropology and Odontology

- Forensic Psychology

- Forensic entomology

- Forensic Toxicology

- Narcotics and Psychotropic substances

- Handwriting and Questioned Documents

- Forensic Serology

- Forensic trace evidence analysis

- Accident investigations

18.  Forensic miscellaneous

b) Applicable Product group in Forensic Testing

The table below lists only some of the forensic disciplines but does not preclude additional activities being undertaken by a forensic unit. Even if some forensic disciplines may not be mentioned here, they may still be included in the scope of this guidance document.

| Audio, Video and Computer Analysis |
| --- |
| Speech, audio and video analysis Biometrics Computers (hardware and software) Image enhancement Recovery of information from electronic devices and media |  | Automated skull reconstruction and aging simulation CCTV Facial mapping Mobile computerized devices (including phone, GPS, PDA) |
| Controlled/non-controlled Substances |
| Botanical material Related chemicals and paraphernalia |  | Controlled pharmaceutical and drugs |
| Entomology, Botany, Archaeology, Anthropology , Odontology |
| Fingerprints |
| Fingerprints and finger marks (development and comparison) |  | Palm prints (development and comparison) Footprints (development and comparison) |
| Firearms and ballistics |
| Bullets and cartridges Gunshot residue |  | Firearms Stun Guns |
| Hairs, Blood, Body Fluids and Tissues and DNA profiling |
| Animal DNA profiling DNA profiling Parentage testing Semen and vaginal secretion analysis |  | Body fluid identification Mitochondrial DNA profiling Blood grouping Hair comparison |
| Handwriting and Document Examination |
| Copiers and copied material Handwriting Inks and printing materials Printers and other printed objects Security marks |  | Embossing and embossed materials Indentations Paper Rubber stamps Typewriters and typewritten material |
| Marks and Impressions |
| Damage examination Glove marks Shoe marks Tyre marks |  | Fabric impression Non-friction ridge body marks Tool marks and impressions |
| Forensic Medicine |
| Cause of death determination Pathology |  | Examination of injuries |
| Scene Investigation |
| Blood pattern analysis Fire investigation Scene of crime investigation |  | Bullet trajectory Photography Chemical, Biological, Radioactive, Nuclear |
| Toxicology |
| Alcohol Pharmaceutical products |  | Drugs Poisons |
| Trace Evidence |
| Acids Alkalis Botanical material (excluding controlled substances) Components of technical or household appliances Dyes and pigments Feeding stuffs and ancillary items Fibres and hairs Food Glass Lachrymatory chemicals Manufacturers marks (including serial number restoration) Oils and greases Soils |  | Adhesives Arson & fire evidence e.g. Fire debris Clothing/garments Corrosives Cosmetics Electrical devices and components Explosives and explosion debris Fertilizers Firearm discharge residues Hydrocarbon fuels Light filaments Lubricants and spermicidal agents Metals and alloys Paints Plastics Pyrotechnic devices |
| Vehicles and Vehicle Accident Investigation |
| Component failures including light bulbs Electrical failures Speed calculations Trajectory determination |  | Car immobiliser systems Erased markings Tachograph charts Tyre examination |

Annex 02

a)  Applicable fields of Mechanical testing under SLAB accreditation shall be as follows

(a) Mechanical Properties of Materials

(b) Metallographic Test

(c) Properties of Powder Metallurgical Products

(d) Building Materials

(e) Plastic, Rubber and Leather

(f) Textile Materials

(g) Soil and Rock

(h) Noise & Vibrations

b) Applicable Product Group under  Mechanical Testing

| Group - Mechanical Properties of Materials 1 Tensile test (% elongation, Y.S., T.S., Modules of Elasticity, Reduction of area) 2 Compression Test 3 Adhesion Strength Test 4 Bonding Strength 5 Shear Test Hardness Test; a) Rockwell b) Brinell c) Vickers d) Knoop e) Shore Hardenability Test Bend Test Formability Test Drawability Test Impact Test a) Izod Impact b) Charpy Impact Machinability Test Stress-rupture Test Creep Test; Stress Relaxation Lapping, Wrapping, Coiling Test Fatigue Test a) Axial Fatigue b) Flexural Fatigue c) Rotating Bending Fatigue Fracture Toughness Test a) Plain Strain Fracture Toughness Test b) Crack Opening Displacement Test c) Crack Growth Rate Test d) Nil Ductility Transition Test e) Drop Weight Test Spring Test a) In Compression b) In Tension Tube Testing a) Buldging Test b) Flattening Test c) Crushing Strength Test d) Drift Expansion Test Weldability Test a) Impact Cold Cracking Test b) Y-groove Cracking Test c) Hot Cracking Test d) Circular Patch Test e) Diffusible Hydrogen Measurement by Hg Method & Gas Chromatography f) Thermal Cycle Reheat Cracking Test g) Thermal Hot Ductility Test h) Delta Ferrite Measurement Spot/ Projection/ Seam Weld Tests a) Cross Tension Test b) U-Tension Test c) Peel Off Test d) Tensile Shear Test Coated Welding Electrode Testing Residual Stress Measurement a) X-ray Diffraction Stress Analyser b) Hole Drilling Method Torsional Fatigue Tests on Fasteners: a) Proof Test b) Thread Slip Measurement Corrosion Tests: a. Salt Spray Test b. Cu-accelerated Acetic Acid-Salt Spray Test (CASS) c. Stress Corrosion Cracking Test d. Hydrogen Embrittlement (Stress Durability Test) Wear/ Abrasion Resistance Test | Group - Properties of Powder Metallurgical Products 1 Density 2 Porosity 3 Flow Rate 4 Transverse 5.Rupture Test Coefficient of Friction (Dynamic) Coefficient Friction (Static) 8. Fracture Toughness 9 Abrasive Wear Resistance 10 Radial Crushing Strength of Sintered Bearing 11 Compressive Yield Strength 12 Strength Test for Sintered Gear 13 Sieve Analysis 14 Particle Size Distribution 15 Compatibility 16 Case Depth Measurement |
| --- | --- |
| Group - Buildings Materials Cement /Cement products a) Fineness by wet sieving b) Fineness by dry sieving c) Fineness by air permeability d) Consistency e) Setting Time (initial, final) f) False Setting g) Soundness by Le Chatelier Test h) Soundness by Autoclave Test i) Compressive Strength j) Tensile Strength k) Compressive & Flexural Strength Using Prism Moulds l) Drying Content m) Air Content n) Water Retention o) Specific Gravity p) Heat of Hydration Whiteness Index q) Bleeding of Cement Paste Mortars r) Expansion of Portland Cement Mortars Exposed to Sulphate s) Potential Expansion of Portland Cement Mortars Exposed to Sulphate t) Restrained Expansion of Expansive Cement Mortars u) Length Change of Hardened Hydraulic Cement Mortar and Concrete w) Length Change of Hydraulic Cement Mortar Exposed to a Mixed Sodium and Magnesium Sulphate Solution Pozzolana a) Density b) Fineness (+45 µ Sieve) c) Fineness by Blaine Air Permeability Method d) Cement Reactivity e) Lime Reactivity f) Soundness g) Drying Shrinkage h) Air-entrainment of Mortar Gypsum Board Products and Gypsum Lath a) Flexural Strength b) Humidified Deflection c) Core, End and Edge Hardness d) End Squareness e) Nail Pull Resistance f) Nominal Thickness g) Recessed or Tapered Edge Depth h) Width, Length i) Water Resistance Off Core-treated Gypsum Board j) Surface Water Resistance of Gypsum Boards with Water-Repellent Face Paper 4. Joint Treatment Materials for Gypsum Board Construction Joint Compound Test a) Consistency b) Shrinkage c) Check Cracking Putrefaction 5. Joint Reinforcing Tape a) Tensile Strength b) Dimensional Stability c) Width, Thickness 6. Bond of Joint Reinforcing Tape to Joint Compound a) Bond Test b) Edge Cracking 7. Adhesives for Pasting Gypsum Wall Board to Wood Framing a) Open Time b) Wetting Characteristics c) Shear Strength d) Tensile Strength e) Bridging Characteristics f) Ageing Properties g) Freeze Thaw Stability h) Vinyl – Covered Gypsum Board Compatibility i) Adhesive Staining 8. Aggregates a) Grading (Sieve Analysis) b) Deleterious Substances Clay Lumps Finer Than 75µ Sieve Coal and Lignite Soft Materials c) Organic Impurities in Fine Aggregates d) Estimation of Mica e) Unit Weight and Voids (Bulk Density) f) Soundness of Aggregate g) Potential Alkali reactivity of Cement - aggregate Combinations (Mortar-Bar Method) h) Petrographic Examination i) Potential Volume Change of Cement-Aggregate Combinations j) Abrasion Value k) Impact Value l) Crushing Value m) 10% Fines Value n) Compressive Strength of Rock Samples o) Surface Moisture, Total Moisture p) Specific Gravity and Absorption q) Straining Materials in Light Weight Concrete Aggregates r) Angularity Number s) Flaquiness Index t) Elongation Index u) Chert v) Effect of Organic Impurities in Fine Aggregate of Mortar 9. Bricks 9.1 Building Bricks a) Compressive b) Water Absorption c) Efflorescence d) Bond Strength e) Bulk Density f) Dimensional requirements 9.2 Fire and Silica Refractory Materials a) Cold Crushing Strength b ) Apparent Porosity c) True Density and True Specific Gravity d) Sizes and Shapes e) Bulk Density 10 Coating Material on Reinforcing Steel a) Resistance to Applied Voltage b) Chloride Permeability c) Adhesion of Coating d) Bond Strength to Concrete e) Abrasion Resistance f) Impact Test g) Hardness Test 11. Building Lime Field Tests a) Ball Test b) Impurity Test c) Plasticity Test d) Workability Test e) Visual Examination Mechanical Tests a) Fineness b) Unhydrated Oxide of Quick Lime c) Volume Yield of Quick Lime d) Compressive and Transverse Strength Bricks a) Workability b) Soundness c) Popping and Pitting d) Setting Time 12. Admixtures a) Water Content b) Time of Setting c) Compressive Strength d) Flexural Strength e) Length Change f) Relative Durability Factor g) Dry Material Content h) Ash Content i) Relative Density 13. Concrete (Fresh) a) Unit Weight, Yield, Air Content b) Bleeding c) Water Content d) Cement Content 14. Workability a) Flow Table b) Slump c) Vee Bee Test d) Compacting Factor e) Kelly Ball Test f) K-Slump Test g) Temperature h) Time of Setting 15. Analysis of Hardened Concrete a) Water Content of Set Concrete b) Compressive Strength c) Flexural Strength d) Direct Tensile Test e) Indirect Tensile Strength (Split Cylinder Test, Punch Test, Frame Method) f) Static Modulus of Elasticity g) Poisson’s Ratio h) Durability Test (Freezing and Thawing) i) Shrinkage and Moisture Movement j) Resistance of Concrete to Abrasion and Erosion k) Abrasion Resistance of Concrete by Sand Blasting l) Abrasion Resistance of Horizontal Concrete Surfaces by Revolving Disks by Dressing Wheels by Ball Bearings m) Abrasion Resistance of Concrete/ Mortar Surfaces by Rotating Cutter Method n) Permeability of Concrete o) Absorption of Concrete p) Creep of Concrete q) Accelerated Testing of Concrete for Compressive Strength r) Time of Setting of Concrete s) Petrographic Examination of Hardened Concrete (for Alkali-Silica Gel Formation) t) Mechanical Properties of Hardened Concrete Under Triaxial Loads u) The Break-off Number of Concrete v) Microscopical Determination of Parameters of the Air-Void System w) Dynamic Modulus of Rigidity x) Dynamic Poisson’s Ratio 16. Timber a) Moisture Content Using Moisture Meter b) Moisture Content Using Hot Air Oven Method c) Specific Gravity d) Static Bonding Test e) Compression Test f) Tension Test g) Nail Holding Test h) Screw Holding Test i) Impact Test j) Torsion Test 17. Plyboard a) Resistance to Dry Heat b) Fire Resistance c) Glue Shear Strength d) Adhesion of Piles e) Water Resistance f) Nycological Test g) Fibre Diameter h) Friability i) Recovery After Compression j) Incombustibility k) Moisture Absorption l) Linear Shrinkage m) Water Vapour Permeance n) Dimension 18. Bitumen a) Softening Point Test b) Flash Point Test c) Penetration Test d) Ductility Test e) Viscosity Test Marshall Stability Test | Group – Plastics, Rubber and Leather Plastics and Rubber 1 Density/ Specific Gravity 2 Hardness a) Durometer Hardness b) IRHD c) Rebound Value 3 Indentation Hardness Index 4 Tensile Testing and elongation at break 5 Compression Test Flexing Test, Crystallinity Test Impact Test a) Izod Impact b) Charpy Impact c) Falling Weight Impact Accelerated Ageing Test 9 Abrasion Test 10 Tear Strength 11 Bond Strength 12 Brittle Point Test 13 Melt Flow Index (MFI) 14 Melting/ Softening Point 15 Flammability Test/ Limited Oxygen Index Test 16 Dimensional Stability (VICAT/ HDT) 17 Coefficient of Friction 18 Water Absorption Test 19 Permeability Test 20 Migration & Staining Test 21 Swelling Test 22 Shear Strength 23 Viscosity Test 24 Rheological Propriety Test low Rate Test 26 UV Resistance and Condensation Test Ozone Resistance Test Static Test b) Dynamic Test Xenon/ Carbon Arc Resistance Test (Accelerated Weathering Test) Resilience Test Dynamic Test a) Dynamic Stiffness b) Loss Modulus (Tan-S) c) Material Damping Coefficient d) Decipation Factor 31 Gloss Finish 32 Flemible Adhesives a) Open Tack Time b) Gel Point c) Viscosity d) Total Solid e) Spreadibility f) Bond Strength (Initial / Aged) Leather 1 Measurement of Width, Thickness and Area 2 Determination of Apparent Density 3 Tensile Test 4 Tear Strength 5 Double Hole Stitch Tear Strength Tongue Tear Strength Shrinkage Temperature Absorption of Water (Gravimetric Method) Cracking of Grain and Grain Index Two Dimensional Extension Resistance to Compression Compressibility Test Indentation Index Dynamic Water Proofness of Boot and Shoe Sole Leather Flexing Endurance Dynamic Water Proofness Test for Upper Leather Water Vapour Permeability Water Proofness of Gloving Leather Bond Strength of Laminated Leather Thermal Conductivity Area Stability on Immersion in Water and Oil Spray Test for Estimating Water Repellency of Clothing Leather PVC pipes& Fittings Hydrostatic pressure Falling weight Impact test Stress reliving test |
| Group - Textile Materials Fibers 1 Textile Characteristics of Individual Textiles Fibres 2 Bundle Strength 2 Yarns a) Breaking Strength of Yarn in Skein Form b) Tensile Properties c) Permanent Deformation of Elastomeric Yarn d) Sewing Threads e) Shrinkage of Yarn f) Coefficient of Friction Industrial Textiles a) Tensile Tests b) Drop Test Tyre Cord Fabric Test a) Tensile Tests b) Adhesion Test of Tyre Cords to Other Reinforcing Rubber Compounds c) Strap Peel Adhesion of Reinforcing Cords or Fabrics to Rubber Compounds d) Thermal Shrinkage Test | Group - Textile Materials Fabric (Woven) a) Tensile Tests b) Abrasion Resistance Test c) Bursting Strength d) Pile Retention of Cord Fabric e) Piling Resistance Test f) Stretch Properties Test g) Snagging Resistance Test h) Stiffness Test Fabrics (Non-Woven) a) Stiffness Test b) Tearing Strength Test Zippers and Fasteners a) Impact Resistance of Plastic Zips b) Operability of Zippers c) Peel Strength of Hook and Loop Touch Fasteners d) Resistance of Un-snapping of Snap Fasteners e) Shear Strength Test f) Strength Test of Zippers |
| Group - Soil and Rock Testing Soil Testing a) Specific Gravity b) Grain Size Analysis c) Atterberg’s Limit (LL, PL,SL) d) Unit Weight e) Moisture Content f) Direct Shear Test g) Unconfined Compression Test h) Triaxial Compression Test Oedometer Consolidation Test i) Permeability Test j) Field Moisture Equivalent k) Centrifuge Moisture Equivalent l) Linear Shrinkage Test m) Compaction Test n) Vane Shear Test o) Free Shear Test p) Free Swell Index of Soil q) Swelling Pressure of Soil r) California Beaing Ratio (CBR) Test Soil Testing (Field) a) Field CBR Test b) Direct Shear Box Test for Soil Containing Gravels c) Standard Penetration Test d) Static Cone Penetration Test e) Modulus of Subgrade Reaction (K-Value) of Soil by Plate Load Test f) Pile Loading Testing g) Field Permeability Test Rock Testing a) Unixial Compressive Strength Test b) Trixial Compression Test c) Modulus of Elasticity and Poisson’s Ratio of Rock Material in Uniaxial Compression d) Slake Durability Index of Rock e) Tensile Strength by Indirect Test on Rock Specimen f) Dynamic Modulus of Rock Core Specimen g) Point Load Test h) Pullout Test on Anchor Bars and Rock Bolts i) Hardness Testing j) Shear Strength of Rock Joints by Direct Shear Box k) Rock Mass Deformability Using a Flexible Dilatometer l) Hydraulic Fracture Test m) Flat Jet Test | Group - Noise & Vibration 1 Measurement of Noise Reduction of Sound Isolating Enclosures. 2 Measurement of Insertion Loss Ducts and Mufflers. 3 Vibration Characteristics of Materials, Components, Assemblies and Structures. 4 Measurement of Mechanical Vibrations & Performance. Dynamic Balancing Mechanical Shock Testing. 7 Vibration Test on Connection and Relay Vibration Record on Transmission Line. |
| Group - Performance Test 1 Proof Pressure Test on Pipes and Valves 2 Aluminium Milk Cans 3 Air Compressor 4 Air Blower 5 Test on Bicycle: a) Frame b) Pedal c) Crank and Chain d) Wheels e) Handle Bar f) Hub g) Spoke h) Tubes 6.Test on Burners Test on Bip Tap and Stop Tap Test on Ball Valves Test on Centrifugal Pumps Test on Commercial Cooking Range & LPG Appliances Test on Domestic Pressure Cooker Test on Gas Cylinders, Valves & Regulators Proof load Tests on Chains Compression Test for Bridge Bearings Load Test on Draw Bar Hooks and Laminated Springs Load Test on Coil Springs a) 0-1 kg b) 0-100 kg c) above 100 kg. 18. Load Test on Chain Pulley Block a) Below 10 tons b) 10 tons to 20 tons c) Above 20 tons 19. Load Test on Hand Operated Winch Load Test on Hydraulic Jacks: a) Proofload upto 100 tons b) Proofload from 100 to 150 tons c) Proofload above 150 tons 20. Load Test on Screw Jacks: a) Up to 15 tons b) Between 15 to 30 tons c) Above 30 tons 21 Load Test on Steel Wire Ropes: a) Up to 1” dia b) Between 1” & 1 ½ dia c) Above 1 ½ dia 22 Proof load Test on Electrically Operated Winch 23 Test on Hack Saw Blade 24 Test on Hurricane Lanterns 25 Test on Hand Sprayers 26 Test on Steel Files 27 Test on Twist Drill 28 Test on Sieves | Group - Performance Test orque Wrench 30 Water Meter Rubber Sealing Ring Rubber Welding Hose Speedometer Cable Prototype Transmission Tower Testing Scaled Down Model Transmission Tower Testing Industrial Air Cleaner: a) Airflow Restriction and Pressure Drop Test b) Initial Efficiency Test c) Dust Capacity and Accumulative Efficiency d) Precleaner Performance 37 Performance of Steel Parts at Sub-Zero Temperature Performance of Rubber Parts at Sub-Zero Temperature Performance of Diesel / Petrol Engine Performance of IC Engine at Higher Altitude Endurance Test for Starter Motor Endurance Test for Jacks Performance and Life Test for Oil Seals Life Cycle Test for AC Pumps Performance Test of Compete Vehicle on Chassis Dynamometer Endurance Test for Bonded Rubber Wheels Test of Helmets Test of Safety Glass Test of Surgical Gloves |

Annex 03

Applicable Product Group for Chemical Testing

1. Adhesives & sealants, Resins

2. Air, gases & atmosphere

3. Biocides

4. Building Materials

5. Cement and related products

6. Clays, Ceramics and related materials

7. Coal, Coke & other solid fuels

8. Cosmetics & essential oils 9

9. Drugs & Pharmaceuticals

10. Explosives & pyrotechnics

11. Fertilizers

12. Industrial & fine chemicals

13. Inks, dyes & pigments

14. Leather & Leather Products

15. Food & agricultural products

16. Metals & alloys

17. Oils & lubricants

18. Ores & Minerals

19. Organic chemicals

20. Paints & surface coatings

21. Petroleum products

22. Plastics & plastic products

23. Pollution & effluents

24. Pulp & Paper

25. Radiation level in consumables

26. Residues in water & food Products

27. Rubber & rubber products

28. Soaps & detergents

29. Solvents

30. Textile & related products

31. Water & Waste water

32. Soil

33. Pesticides

Annex 04

Applicable Product Group for Biological Testing

| A. 1 Food and Agricultural Products Sampling Animal Feeds Bakery & Confectionery Products Beverages (Alcoholic / Non-Alcoholic/ Carbonated) Canned & Processed Foods Cereals, Pulses & Cereal Products Coffee & Cocoa Products Edible Colours & Flavours Edible Oils & Fats Eggs & Egg Products Essential Nutrients Including Vitamins Fish, Fish products & Sea Foods Food Additives & Preservatives Fruit & Fruit Products Gelatin and Other Gums Genetically Modified Foods and agricultural products Herbs, Spices & Condiments Honey & Honey Products Infant Foods Jams, Juices, Sauces & Concentrates Meat & Meat Products Milk & Dairy Products Margarine Natural Waxes Nutritional Supplements Nuts & Nut Products Oil Seeds & By-Products Pet Foods Poultry & Poultry Products Starch & Starch Products Sugar & Sugar Products Tea Tobacco & Tobacco Products Vegetables & Vegetable Products Other Specified Food Items Sensory Evaluation Tests on Foods Ready to eat foods/ drinks | A. 2 Drugs and Pharmaceuticals Antibiotics Ayurvedic Drugs Biotechnology derived pharmaceuticals Chemotherapeutic Agents Drug Intermediates & Raw Materials Endotoxins Enzymes Filterable Solutions & Soluble Preparations Hormones Herbal drugs Immunological Products Microbial limit tests Natural Drugs Non-Filterable Preparations Including Ointments Preservative efficacy Pyrogen tests Sterility tests Surgical Dressings Synthetic Drugs Vaccines Veterinary Drugs Vitamins Bioassays of Other Products (Other Than Those Products Mentioned Above) Tests for Medical devices and Medical Textile Specific Pathogens Sterility Other Specified Tests |
| --- | --- |
| A. 3 Water Drinking water Potable water Packaged Drinking Water Packaged Natural Mineral Water Water for Swimming Pool and Spas Water for Construction Purpose Water Purifiers RO water Ground Water/ Surface Water Water for Medicinal Purposes Distilled /Demineralized Water Water for Processed Food Industry Water for industrial purpose Ice Test for Efficacy of Water Filtering Plants | A. 4 Pollution and Environment Air Effluents Solid waste Sewage Soil |
| A.5 Biocides Algacides Bactericides Fungicides Herbicides Insecticides Sporicides Vermicides Weedicides Antiseptics, Disinfectants | A.6 Cosmetics, Perfumes and Essential Oil Gram negative Pathogens Microbial Count Preservative Efficacy Sterility Tests Gram positive microbes Fungi |
| A.7 Industrial Cultures Dairy Starter Cultures Rizhobial Cultures Yeast and Other Ferments Mushroom Spawn Meat Starter Cultures Other specified cultures | A.8 Seed Testing Sampling Moisture Purity Germination Tertazolium Fluorescence Other Specified Tests |
| A.9 Plants and Plant Materials for Presence of Disease Identification of Bacterial Pathogens Identification of Fungal Pathogens Identification of Viral Pathogens Other Specified Tests Nematodes Insect eggs | A.10 Molecular Biology (Tests for Various Matrices) Genotyping Promoter/Terminator Screening Pathogen Detection Gene Expression Gene Copy Number Bacterial Mutagenicity Tests Sister Chromatid Exchange Tests Transformation Assays In Cell culture Other Specified Tests |
| A.11 GMO Testing Detection by DNA Detection by Protein | A.12 Cell Culture Cytotoxicity Cytogenetics Cell permeability test |
| A.13 Resistance to Microbial Attack Textiles and Fabrics Paints and surface coatings Adhesives, glues and other bonding Paper and paper pulp Electrical Components Timber and Allied Material Other Specified Materials | A.14 Biological Tests on Other Miscellaneous Test Items Adhesives Glues and Sealant Fuels and Oils Lubricants Packaging Materials Paints & Surface Coatings Pulp & Paper, wet & dry tissues Soaps & Detergents Textiles & Fabrics Wood & Wooden Products Coir fiber/ pith Toys and Other Children’s Products Bio-fertilizer Soil Conditioners and Organic & chemical Fertilizer soil |
| A.15 Factory Hygiene Purposes Surfaces Air Water Personnel hygiene | A.16 Toxicology Acute Toxicity Subacute Toxicity Neurobehavioral Toxicity Evaluation Promoter screening Reproductive Toxicity Chronic toxicity Generation Study Mucous membrane irritation test Skin sensitization test Hypersensitivity/allergenicity test Eye irritation test Neurotoxicity Carcinogenicity Environmental toxicity Mutagenicity Teratogenicity Fish Toxicity Studies Bird Toxicity |
| A.17 Identification of Bacterial and Viral Pathogens in Food Items by: Test Kits ELISA PCR | A.18 Residue Analysis Antibiotic residue analysis by ELISA |
| A.19 Veterinary Testing Specified tests in Biochemistry, Haematology, Cytopathology, Histopathology etc | A.20 Phytosanitary Tests Testing of quarantine pathogens |

Annex  – 05

BIOSAFETY LEVELS

E.1: Risk Groups of Microorganisms

Microorganisms are classified into 4 risk groups according to the risks posed by them to the handlers, and the ease of their transmission to the society.

Risk Group 1 (no or low individual and community risk). A microorganism that is unlikely to cause human disease or animal disease

Risk Group 2 (moderate individual risk, low community risk). A pathogen that can cause human or animal disease but is unlikely to be a serious hazard to laboratory workers, the community, livestock or the environment. Laboratory exposures may cause serious infection, but effective treatment and preventative measures are available and the risk of spread of infection is limited.

Risk Group 3 (high individual risk, low community risk). A pathogen that usually causes serious human or animal disease but does not ordinarily spread from one infected individual to another. Effective treatment and preventive measures are available.

Risk Group 4 (high individual and community risk). A pathogen that usually causes serious human or animal disease and that can be readily transmitted from one individual to another, directly or indirectly. Effective treatment and preventive measures are not usually available.

NOTE: A classification of microorganisms on the basis of risk groups is given in Guidelines for the Safe use of Recombinant DNA technology in the Laboratory published by the National Science Foundation (NSF) of Sri Lanka.

E.2: Biosafety Levels

There are four levels of biosafety precautions adopted for biological agents according to the risk groups.

Biosafety level 1 is suitable for work involving well characterized agents not known to consistently cause disease in healthy adult humans and of minimal potential hazard to laboratory personnel and the environment (Risk Group 1).

Work is generally practiced on open bench tops using standard microbiological practices. Special containment equipment or facility design is neither required nor generally designed. Laboratory personnel have specific training in the procedures conducted in the laboratory and are supervised by a qualified and trained person in the area of microbiology or related science.

Biosafety Level 2 is similar to Biosafety Level 1 and is suitable for work involving agents of moderate potential hazard to personnel and the environment (Risk Group 2). It differs from the level 1 by

1) Laboratory personnel have specific training in handling pathogenic agents and are directed by competent personnel.

2) Access to the laboratory is limited when work is being conducted

3) Extreme precautions are taken with contaminated sharp items and ;

4) Certain procedures in which infectious aerosols or splashes may be created are conducted in biological safety cabinets or other physical containment equipment

Biological Safety Cabinets of Class I or Class II are recommended for use.

Biosafety Level 3 is applicable to clinical, diagnostic, teaching research or production facilities in which work is done with indigenous or exotic agents which may cause serious or potentially lethal disease as a result of exposure by the inhalation route (Risk Group 3).

Laboratory personnel have specific training in handling pathogenic and potentially lethal agents, and are supervised by competent scientists who are experienced in working with these agents.

All procedures involving the manipulation of infectious materials are conducted within biological safety cabinets or other physical containment devices or by personnel wearing appropriate, personal protective clothing and equipment. The laboratory has special engineering and design features.

It is recognized however that some existing facilities may not have all the facility features recommended for Biosafety Level 3 (i.e., double door access zone and sealed penetration). In this circumstance, an acceptable level of safety for the conduct of routine procedures, (e.g., diagnostic procedures involving the propagation of an agent for identification, typing, susceptibility testing, etc.) may be achieved in a Biosafety Level 2 facility providing:

1) The exhaust air from the laboratory room is discharged to the outdoors via HEPA filters

2) The ventilation to the laboratory is balanced to provide directional airflow into the room

3) Access to the laboratory is restricted when work is in progress

4) Recommended Standard Microbiological Practices, special practices and safety equipment for Biosafety level 3 are rigorously followed.

The decision to implement Biosafety level 3 recommendations should be made only by the laboratory director.

Biological Safety Cabinets of Class I or Class II are recommended for use.

Biosafety Level 4  is required for work with dangerous and exotic agents that pose a high individual risk of aerosol transmitted laboratory infections and life threatening disease (Risk Group 4).

Agents with a close or identical antigenic relationship to Biosafety Level 4 agents are handled at this level until sufficient data are obtain either to confirm continued work or to work them at a lower level.

Members of the laboratory staff have specific and thorough training in handling extremely hazardous infectious agents and they understand the primary and secondary containment functions of the standard and special practices, the containment equipment and the laboratory design characteristics. They shall be supervised by competent scientists who are trained and experienced in working with these agents. The laboratory director should strictly control access to the laboratory.

The facility is either a separate building or in a controlled area within a building, which is completely isolated from all other areas of the building. A specific operation manual is prepared or adopted.

Within work areas of the facility all activities are confined to Class III biological safety cabinets or Class II biological safety cabinets used with one-piece positive pressure personnel suits ventilated by a life support system.

The Biosafety Level 4 laboratory has special engineering and design features to prevent microorganisms from being disseminated into the environment.

E.3: rDNA Technology in the Laboratory

Safety precautions given in Guidelines for the Safe use of Recombinant DNA technology in the Laboratory published by the National Science Foundation (NSF) of Sri Lanka Should be followed in application of rDNA Technology in the Laboratory.

Annex 06

Applicable Product Group for Electrical Testing

- Meter testing

- Photometry Testing

COMPOSITION OF THE TECHNICAL ADVISORY COMMITTEE

| Biological | Dr.S.I.Abegunawardana Retired Senior Lecturer, Department of Microbiology University of Kelaniya | Member |
| --- | --- | --- |
|  | Ms.W.A.J.Sajeewika Perera Principle Research Scientist Industrial Technology Institute | Member |
|  | Ms.Hasika Thilakaratne Technical Manager Microbiology Division, Bamber & Bruce (Pvt) Ltd. | Member |
| Chemical | Mr.EG Somapala Retired Government Analyst | Member |
|  | Ms.Dilani Rodrigo Senior Deputy Director Sri Lanka Standard Institute | Member |
|  | Dr. H.P.P.S.Somasiri Principle Research Scientist Industrial Technology Institute | Member |
| Mechanical | Mr. T S Amarawansa Former Deputy Director General Sri Lanka Standard Institute | Member |
|  | Mr.Sanath Perera Assistant Director Sri Lanka Standard Institute | Member |
|  | Ms. Devaki Rodrigo Technical Manager – Dipped Product PLC Representing Sri Lanka Association of Testing Laboratories | Member |
| Forensic | Dr. Amal Vadysinghe Senior Lecturer Department of Forensic Medicine Faculty of Medicine University of Peradeniya | Member |
|  | Prof. Indira Kithulwatte Head/Department of Forensic Medicine Faculty of Medicine University of Keleniya | Member |
|  | Mrs. Vajirapani De Silva Senior Scientist Genetech Molecular Diagnostics and School of Gene Technology | Member |
| Electrical | Mr. R G Perera Head of Calibration Lanka Calibration Services (Pvt) Ltd | Member |

# Text boxes

SRI LANKA ACCREDITATION BOARD

For CONFORMITY ASSESSMENT

DRAFT SPECIFIC CRITERIA FOR

TESTING LABORATORIES PERFOMING CHEMICAL, BIOLOGICAL, MECHANICAL, ELECTRICAL AND FORENSIC TESTING.