| # Requirement | # Reference to Related Management System Document of PT Provider # (See Note 4) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | ### Compliance |  |  | # Remarks by Authorized Officer/Assessor | Remarks by Assessor |
|  |  | ### Y | N | NA |  |  |
| 4. Technical requirements 4.1 General |  |  |  |  |  |  |
| The development and operation of proficiency testing schemes shall be undertaken by proficiency testing providers having competence to conduct interlaboratory comparisons and access to expertise with the particular type of proficiency test items. Proficiency testing providers or their subcontractors shall also have competence in the measurement of the properties being determined. |  |  |  |  |  |  |
| 4.2 Personnel |  |  |  |  |  |  |
| 4.2.1 The proficiency testing provider shall have managerial and technical personnel with the necessary authority, resources and technical competence required to perform their duties. |  |  |  |  |  |  |
| 4.2.2 The proficiency testing provider's management shall define the minimum levels of qualification and experience necessary for the key positions within its organization and ensure those qualifications are met. |  |  |  |  |  |  |
| 4.2.3 The proficiency testing provider shall use personnel who are either employed by, or under contract to it. Where contracted and additional technical and key support personnel are used, the proficiency testing provider shall ensure that such personnel are supervised and competent and that they work in accordance with the management system. |  |  |  |  |  |  |
| 4.2.4 The proficiency testing provider shall authorize specific personnel to: |  |  |  |  |  |  |
| a) select appropriate proficiency test items; |  |  |  |  |  |  |
| b) plan proficiency testing schemes; |  |  |  |  |  |  |
| c) perform particular types of sampling; |  |  |  |  |  |  |
| d) operate specific equipment; |  |  |  |  |  |  |
| e) conduct measurements to determine stability and homogeneity, as well as assigned values and associated uncertainties of the measurands of the proficiency test item; |  |  |  |  |  |  |
| f) prepare, handle and distribute proficiency test items; |  |  |  |  |  |  |
| g) operate the data processing system; |  |  |  |  |  |  |
| h) conduct statistical analysis; |  |  |  |  |  |  |
| i) evaluate the performance of proficiency testing participants; |  |  |  |  |  |  |
| j) give opinions and interpretations; and |  |  |  |  |  |  |
| k) authorize the issue of proficiency testing reports. |  |  |  |  |  |  |
| 4.2.5 The proficiency testing provider shall maintain up-to-date records of the relevant authorization(s), competence, educational and professional qualifications, training, skills and experience of all technical personnel, including contracted personnel. This information shall be readily available and shall include the date on which competence to perform their assigned tasks was assessed and confirmed. |  |  |  |  |  |  |
| 4.2.6 The proficiency testing provider shall formulate the objectives with respect to the education, training, and skills for each staff member involved with the operation of the proficiency testing scheme. The proficiency testing provider shall have a policy and procedures for identifying training needs and providing training of personnel. The training programme shall be relevant to the present and anticipated needs of the proficiency testing provider. |  |  |  |  |  |  |

| 4.2.7 The proficiency testing provider shall ensure that staff receive the necessary training to ensure competent performance of measurements, operation of equipment and any other activities which affect the quality of the proficiency testing scheme. The effectiveness of training activities shall be evaluated. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.3 Equipment, accommodation and environment |  |  |  |  |  |  |
| 4.3.1 The proficiency testing provider shall ensure that there is appropriate accommodation for the operation of the proficiency testing scheme. This includes facilities and equipment for proficiency test item manufacturing, handling, calibration, testing, storage and despatch, for data processing, for communications, and for retrieval of materials and records. |  |  |  |  |  |  |
| 4.3.2 The proficiency testing provider shall ensure that the environmental conditions do not compromise the proficiency testing scheme or the required quality of operations. Particular care shall be taken when operations are undertaken at sites away from the proficiency testing provider's permanent facilities or are undertaken by subcontractors. The technical requirements for accommodation and environmental conditions that can affect the proficiency testing shall be documented. |  |  |  |  |  |  |
| 4.3.3 Access to and use of areas affecting the quality of proficiency testing schemes shall be controlled. The proficiency testing provider shall determine the extent of control based on its particular circumstances. |  |  |  |  |  |  |
| 4.3.4 The proficiency testing provider shall identify environmental conditions that can significantly influence the quality of the proficiency test items and any testing and calibration carried out, including conditions that are required by relevant specifications and measurement procedures. The proficiency testing provider shall control and monitor these conditions, and shall record all relevant monitoring activities. Relevant proficiency testing activities shall be stopped when the environmental conditions jeopardize the quality or the operations of the proficiency testing scheme. |  |  |  |  |  |  |
| 4.3.5 There shall be effective separation between neighbouring areas in which there are incompatible activities. Action shall be taken to prevent cross-contamination. |  |  |  |  |  |  |

| 4.3.6 Proficiency testing providers shall ensure that performance characteristics of laboratory methods and equipment used to confirm the content, homogeneity and stability of proficiency testing items are appropriately validated and maintained. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.4 Design of proficiency testing schemes |  |  |  |  |  |  |
| 4.4.1 Planning |  |  |  |  |  |  |
| 4.4.1.1 The proficiency testing provider shall identify and plan those processes which directly affect the quality of the proficiency testing scheme and shall ensure that they are carried out in accordance with prescribed procedures. |  |  |  |  |  |  |
| 4.4.1.2 The proficiency testing provider shall not subcontract the planning of the proficiency testing scheme (see 5.5.2). |  |  |  |  |  |  |

| 4.4.1.3 The proficiency testing provider shall document a plan before commencement of the proficiency testing scheme that addresses the objectives, purpose and basic design of the proficiency testing scheme, including the following information and, where appropriate, reasons for its selection or exclusion: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| a) the name and address of the proficiency testing provider; |  |  |  |  |  |  |
| b) the name, address and affiliation of the coordinator and other personnel involved in the design and operation of the proficiency testing scheme; |  |  |  |  |  |  |
| c) the activities to be subcontracted and the names and addresses of subcontractors involved in the operation of the proficiency testing scheme; |  |  |  |  |  |  |
| d) criteria to be met for participation; |  |  |  |  |  |  |
| e) the number and type of expected participants in the proficiency testing scheme; |  |  |  |  |  |  |
| f) selection of the measurand(s) or characteristic(s) of interest, including information on what the participants are to identify, measure, or test for in the specific proficiency testing round; |  |  |  |  |  |  |

| g) a description of the range of values or characteristics, or both, to be expected for the proficiency test items; |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| h) the potential major sources of errors involved in the area of proficiency testing offered; |  |  |  |  |  |  |
| i) requirements for the production, quality control, storage and distribution of proficiency test items; |  |  |  |  |  |  |
| j) reasonable precautions to prevent collusion between participants or falsification of results, and procedures to be employed if collusion or falsification of results is suspected; |  |  |  |  |  |  |
| k) a description of the information which is to be supplied to participants and the time schedule for the various phases of the proficiency testing scheme; |  |  |  |  |  |  |
| l) for continuous proficiency testing schemes, the frequency or dates upon which proficiency test items are to be distributed to participants, the deadlines for the return of results by participants and, where appropriate, the dates on which testing or measurement is to be carried out by participants; |  |  |  |  |  |  |

| m) any information on methods or procedures which participants need to use to prepare the test material and perform the tests or measurements; |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| n) procedures for the test or measurement methods to be used for the homogeneity and stability testing of proficiency test items and, where applicable, to determine their biological viability; |  |  |  |  |  |  |
| o) preparation of any standardized reporting formats to be used by participants; |  |  |  |  |  |  |
| p) a detailed description of the statistical analysis to be used; |  |  |  |  |  |  |
| q) the origin, metrological traceability and measurement uncertainty of any assigned values; |  |  |  |  |  |  |
| r) criteria for the evaluation of performance of participants; |  |  |  |  |  |  |
| s) a description of the data, interim reports or information to be returned to participants; |  |  |  |  |  |  |
| t) a description of the extent to which participant results, and the conclusions that will be based on the outcome of the proficiency testing scheme, are to be made public; and |  |  |  |  |  |  |

| u) actions to be taken in the case of lost or damaged proficiency test items. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.4.1.4 The proficiency testing provider shall have access to the necessary technical expertise and experience in the relevant field of testing, calibration, sampling or inspection, as well as statistics. This may be achieved, if necessary, by establishing an advisory group (named as appropriate). |  |  |  |  |  |  |
| 4.4.1.5 Technical expertise shall be used, as appropriate, to determine matters such as the following: |  |  |  |  |  |  |
| a) planning requirements as listed in 4.4.1.3; |  |  |  |  |  |  |
| b) identification and resolution of any difficulties expected in the preparation and maintenance of homogeneous proficiency test items, or in the provision of a stable assigned value for a proficiency test item; |  |  |  |  |  |  |
| c) preparation of detailed instructions for participants; |  |  |  |  |  |  |

| d) comments on any technical difficulties or other remarks raised by participants in previous proficiency testing rounds; |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| e) provision of advice in evaluating the performance of participants; |  |  |  |  |  |  |
| f) comments on the results and performance of participants as a whole and, where appropriate, groups of participants or individual participants; |  |  |  |  |  |  |
| g) provision of advice for participants (within limits of confidentiality), either individually or within the report; |  |  |  |  |  |  |
| h) responding to feedback from participants; and |  |  |  |  |  |  |
| i) planning or participating in technical meetings with participants. |  |  |  |  |  |  |
| 4.4.2 Preparation of proficiency test items |  |  |  |  |  |  |
| 4.4.2.1 The proficiency testing provider shall establish and implement procedures to ensure that proficiency test items are prepared in accordance with the plan described in 4.4.1. |  |  |  |  |  |  |
| 4.4.2.2 The proficiency testing provider shall establish and implement procedures to ensure appropriate acquisition, collection, preparation, handling, storage and, where required, disposal of all proficiency test items. The procedures shall ensure that materials used to manufacture proficiency test items are obtained in accordance with relevant regulatory and ethical requirements. |  |  |  |  |  |  |
| 4.4.2.3 Proficiency test items should match in terms of matrix, measurands and concentrations, as closely as practicable, the type of items or materials encountered in routine testing or calibration. |  |  |  |  |  |  |
| 4.4.2.4 In proficiency testing schemes that require participants to prepare or manipulate, or both prepare and manipulate, the proficiency test item and submit it to the proficiency testing provider, the proficiency testing provider shall issue instructions for preparation, packaging and transport of the proficiency test item. |  |  |  |  |  |  |

| 4.4.3 Homogeneity and stability |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.4.3.1 Criteria for suitable homogeneity and stability shall be established and shall be based on the effect that inhomogeneity and instability will have on the evaluation of the participants' performance. |  |  |  |  |  |  |
| 4.4.3.2 The procedures for the assessment of homogeneity and stability shall be documented and conducted, where applicable, in accordance with appropriate statistical designs. Where possible, the proficiency testing provider shall use a statistically random selection of a representative number of proficiency test items from the whole batch of test material in order to assess the homogeneity of the material. |  |  |  |  |  |  |
| 4.4.3.3 The assessment of homogeneity shall normally be performed after the proficiency test items have been packaged in the final form and before distribution to participants unless, for example, stability studies indicate that they should be stored in bulk form. |  |  |  |  |  |  |
| 4.4.3.4 Proficiency test items shall be demonstrated to be sufficiently stable to ensure that they will not undergo any significant change throughout the conduct of the proficiency testing, including storage and transport conditions. When this is not possible, the stability shall be quantified and considered as an additional component of the measurement uncertainty associated with the assigned value of the proficiency test item, and/or taken into account in the evaluation criteria. |  |  |  |  |  |  |
| 4.4.3.5 When proficiency test items from previous rounds are retained for future use, the property values to be determined in the proficiency testing scheme shall be confirmed by the proficiency testing provider prior to distribution. |  |  |  |  |  |  |
| 4.4.3.6 In circumstances where homogeneity and stability testing is not feasible, the proficiency testing provider shall demonstrate that the procedures used to collect, produce, package and distribute the proficiency test items are sufficient for the purpose of the proficiency testing. |  |  |  |  |  |  |
| 4.4.4 Statistical design |  |  |  |  |  |  |
| 4.4.4.1 Statistical designs shall be developed to meet the objectives of the scheme, based on the nature of the data (quantitative or qualitative, including ordinal and categorical), statistical assumptions, the nature of errors, and the expected number of results (see B.3.2.2). |  |  |  |  |  |  |
| 4.4.4.2 The proficiency testing provider shall document the statistical design and data analysis methods to be used to identify the assigned value and evaluate participant results, and shall provide a description of the reasons for their selection and assumptions upon which they are based. The proficiency testing provider shall be able to demonstrate that statistical assumptions are reasonable and that statistical analyses are carried out in accordance with prescribed procedures. |  |  |  |  |  |  |
| 4.4.4.3 In designing a statistical analysis, the proficiency testing provider shall give careful consideration to the following: |  |  |  |  |  |  |
| a) the accuracy (trueness and precision) as well as the measurement uncertainty required or expected for each measurand or characteristic in the proficiency testing; |  |  |  |  |  |  |
| b) the minimum number of participants in the proficiency testing scheme needed to meet the objectives of the statistical design; in cases where there is an insufficient number of participants to meet these objectives or to produce statistically meaningful analysis of results, the proficiency testing provider shall document, and provide to participants, details of the alternative approaches used to assess participant performance; |  |  |  |  |  |  |
| c) the relevance of significant figures to the reported result, including the number of decimal places; |  |  |  |  |  |  |
| d) the number of proficiency test items to be tested or measured and the number of repeat tests, calibrations or measurements to be conducted on each proficiency test item or for each determination; |  |  |  |  |  |  |
| e) the procedures used to establish the standard deviation for proficiency assessment or other evaluation criteria; |  |  |  |  |  |  |
| f) procedures to be used to identify or handle outliers, or both; |  |  |  |  |  |  |

| g) where relevant, the procedures for the evaluation of values excluded from statistical analysis; and |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| h) where appropriate, the objectives to be met for the design and the frequency of proficiency testing rounds. |  |  |  |  |  |  |
| 4.4.5 Assigned values |  |  |  |  |  |  |
| 4.4.5.1 The proficiency testing provider shall document the procedure for determining the assigned values for the measurands or characteristics in a particular proficiency testing scheme. This procedure shall take into account the metrological traceability and measurement uncertainty required to demonstrate that the proficiency testing scheme is fit for its purpose. |  |  |  |  |  |  |
| 4.4.5.2 Proficiency testing schemes in the area of calibration shall have assigned values with metrological traceability, including measurement uncertainty. |  |  |  |  |  |  |
| 4.4.5.3 For proficiency testing schemes in areas other than calibration, the relevance, needs and feasibility for metrological traceability and associated measurement uncertainty of the assigned value shall be determined by taking into account specified requirements of participants or other interested parties, or by the design of the proficiency testing scheme. |  |  |  |  |  |  |
| 4.4.5.4 When a consensus value is used as the assigned value (see Annex B), the proficiency testing provider shall document the reason for that selection and shall estimate the uncertainty of the assigned value as described in the plan for the proficiency testing scheme. |  |  |  |  |  |  |
| 4.4.5.5 The proficiency testing provider shall have a policy regarding the disclosure of assigned values. The policy shall ensure that participants cannot gain advantage from early disclosure. |  |  |  |  |  |  |

| 4.5 Choice of method or procedure |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.5.1 Participants shall normally be expected to use the test method, calibration or measurement procedure of their choice, which should be consistent with their routine procedures. The proficiency testing provider may instruct participants to use a specified method in accordance with the design of the proficiency testing scheme. |  |  |  |  |  |  |
| 4.5.2 Where participants are permitted to use a method of their choice, the proficiency testing provider shall: |  |  |  |  |  |  |
| a) have a policy and follow a procedure regarding comparison of results obtained by different test or measurement methods; |  |  |  |  |  |  |
| b) be aware of which different test or measurement methods for any measurand are technically equivalent, and take steps to assess participants' results using these methods accordingly. |  |  |  |  |  |  |

| 4.6 Operation of proficiency testing schemes |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.6.1 Instructions for participants |  |  |  |  |  |  |
| 4.6.1.1 The proficiency testing provider shall give participants sufficient prior notice before sending proficiency test items, providing the date on which the proficiency test items are likely to arrive or to be despatched, unless the design of the proficiency testing scheme makes it inappropriate to do so. |  |  |  |  |  |  |
| 4.6.1.2 The proficiency testing provider shall give detailed documented instructions to all participants. Instructions to participants shall include: |  |  |  |  |  |  |
| a) the necessity to treat proficiency test items in the same manner as the majority of routinely tested samples (unless there are particular requirements of the proficiency testing scheme which require departure from this principle); |  |  |  |  |  |  |
| b) details of factors which could influence the testing or calibration of the proficiency test items, e.g. the nature of the proficiency test items, conditions of storage, whether the proficiency testing scheme is limited to selected test methods, and the timing of the testing or measurement; |  |  |  |  |  |  |

| c) detailed procedure for preparing or conditioning, or both preparing and conditioning, of the proficiency test items before conducting the tests or calibrations; |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| d) any appropriate instructions on handling the proficiency test items, including any safety requirements; |  |  |  |  |  |  |
| e) any specific environmental conditions for the participant to conduct tests or calibrations, or both, and, if relevant, any requirement for the participants to report relevant environmental conditions during the time of the measurement; |  |  |  |  |  |  |
| f) specific and detailed instructions on the manner of recording and reporting test or measurement results and associated uncertainties. If the instructions include reporting of the uncertainty of the reported result or measurement, this shall include the coverage factor and, whenever practicable, the coverage probability; |  |  |  |  |  |  |
| g) the latest date for the provider to receive the proficiency testing or measurement results for analysis; |  |  |  |  |  |  |
| h) information on the contact details of the proficiency testing provider for enquiries; and |  |  |  |  |  |  |

| i) instructions on return of the proficiency test items, when applicable. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.6.2 Proficiency test items handling and storage |  |  |  |  |  |  |
| 4.6.2.1 The proficiency testing provider shall ensure that proficiency test items are appropriately identified and segregated and cannot become contaminated or degraded, from the time of preparation to their distribution to participants. |  |  |  |  |  |  |
| 4.6.2.2 The proficiency testing provider shall provide secure storage areas or stock rooms, or both, which prevent damage or deterioration of any proficiency test item between preparation and distribution. Appropriate procedures for authorizing despatch to, and receipt from, such areas shall be defined. |  |  |  |  |  |  |
| 4.6.2.3 When appropriate, the condition of stored or stocked proficiency test items, chemicals and materials shall be assessed at specified intervals during their storage life in order to detect possible deterioration. |  |  |  |  |  |  |

| 4.6.2.4 Where potentially hazardous proficiency test items, chemicals and materials are used, facilities shall be available to ensure their safe handling, decontamination and disposal. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.6.3 Packaging, labelling and distribution of proficiency test items |  |  |  |  |  |  |
| 4.6.3.1 The proficiency testing provider shall control packaging and labelling processes to the extent necessary to ensure conformity with relevant national, regional, or international safety and transport requirements. |  |  |  |  |  |  |
| 4.6.3.2 The proficiency testing provider shall specify relevant environmental conditions for the transport of proficiency test items. Where relevant, the proficiency testing provider shall monitor the pertinent environmental conditions of the proficiency test item during transport and assess the impact of environmental influences on the proficiency test item. |  |  |  |  |  |  |

| 4.6.3.3 In proficiency testing schemes where participants are required to transport the proficiency test items to other participants, documented instructions for this transport shall be supplied. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.6.3.4 The proficiency testing provider shall ensure that labels are securely attached to the packaging of individual proficiency test items and are designed to remain legible and intact throughout the proficiency testing round. |  |  |  |  |  |  |
| 4.6.3.5 The proficiency testing provider shall follow a procedure to enable the confirmation of delivery of the proficiency test items. |  |  |  |  |  |  |
| 4.7 Data analysis and evaluation of proficiency testing scheme results |  |  |  |  |  |  |
| 4.7.1 Data analysis and records |  |  |  |  |  |  |
| 4.7.1.1 All data processing equipment and software shall be validated in accordance with procedures before being brought into use. Computer system maintenance shall include a back-up process and system recovery plan. The results of such maintenance and operational checks shall be recorded. |  |  |  |  |  |  |

| 4.7.1.2 Results received from participants shall be recorded and analysed by appropriate methods. Procedures shall be established and implemented to check the validity of data entry, data transfer, statistical analysis, and reporting. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.7.1.3 Data analysis shall generate summary statistics and performance statistics, and associated information consistent with the statistical design of the proficiency testing scheme. |  |  |  |  |  |  |
| 4.7.1.4 The influence of outliers on summary statistics shall be minimized by the use of robust statistical methods or appropriate tests to detect statistical outliers. |  |  |  |  |  |  |
| 4.7.1.5 The proficiency testing provider shall have documented criteria and procedures for dealing with test results that may be inappropriate for statistical evaluation, e.g. miscalculations, transpositions and other gross errors. |  |  |  |  |  |  |

| 4.7.1.6 The proficiency testing provider shall have documented criteria and procedures to identify and manage proficiency test items that have been distributed and are subsequently found to be unsuitable for performance evaluation, e.g. because of inhomogeneity, instability, damage or contamination. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.7.2 Evaluation of performance |  |  |  |  |  |  |
| 4.7.2.1 The proficiency testing provider shall use valid methods of evaluation which meet the purpose of the proficiency testing scheme. The methods shall be documented and include a description of the basis for the evaluation. The evaluation of performance shall not be subcontracted (see 5.5.2). |  |  |  |  |  |  |
| 4.7.2.2 Where appropriate for the purpose of the proficiency testing scheme, the proficiency testing provider shall provide expert commentary on the performance of participants with regard to the following: |  |  |  |  |  |  |
| a) overall performance against prior expectations, taking measurement uncertainties into account; |  |  |  |  |  |  |

| b) variation within and between participants, and comparisons with any previous proficiency testing rounds, similar proficiency testing schemes, or published precision data; |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| c) variation between methods or procedures; |  |  |  |  |  |  |
| d) possible sources of error (with reference to outliers) and suggestions for improving performance; |  |  |  |  |  |  |
| e) advice and educational feedback to participants as part of the continual improvement procedures of participants; |  |  |  |  |  |  |
| f) situations where unusual factors make evaluation of results and commentary on performance impossible; |  |  |  |  |  |  |
| g) any other suggestions, recommendations or general comments; and |  |  |  |  |  |  |
| h) conclusions. |  |  |  |  |  |  |

| 4.8 Reports |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.8.1 Proficiency test reports shall be clear and comprehensive and include data covering the results of all participants, together with an indication of the performance of individual participants. The authorization of the final report shall not be subcontracted (see 5.5.2). |  |  |  |  |  |  |
| 4.8.2 Reports shall include the following, unless it is not applicable or the proficiency testing provider has valid reasons for not doing so: |  |  |  |  |  |  |
| a) the name and contact details for the proficiency testing provider; |  |  |  |  |  |  |
| b) the name and contact details for the coordinator; |  |  |  |  |  |  |
| c) the name(s), function(s), and signature(s) or equivalent identification of person(s) authorizing the report; |  |  |  |  |  |  |
| d) an indication of which activities are subcontracted by the proficiency testing provider; |  |  |  |  |  |  |
| e) the date of issue and status (e.g. preliminary, interim, or final) of the report; |  |  |  |  |  |  |

| f) page numbers and a clear indication of the end of the report; |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| g) a statement of the extent to which results are confidential; |  |  |  |  |  |  |
| h) the report number and clear identification of the proficiency testing scheme; |  |  |  |  |  |  |
| i) a clear description of the proficiency test items used, including necessary details of the proficiency test item's preparation and homogeneity and stability assessment; |  |  |  |  |  |  |
| j) the participants' results; |  |  |  |  |  |  |
| k) statistical data and summaries, including assigned values and range of acceptable results and graphical displays; |  |  |  |  |  |  |
| l) procedures used to establish any assigned value; |  |  |  |  |  |  |
| m) details of the metrological traceability and measurement uncertainty of any assigned value; |  |  |  |  |  |  |
| n) procedures used to establish the standard deviation for proficiency assessment, or other criteria for evaluation; |  |  |  |  |  |  |

| o) assigned values and summary statistics for test methods/procedures used by each group of participants (if different methods are used by different groups of participants); |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| p) comments on participants' performance by the proficiency testing provider and technical advisers; |  |  |  |  |  |  |
| q) information about the design and implementation of the proficiency testing scheme; |  |  |  |  |  |  |
| r) procedures used to statistically analyse the data; |  |  |  |  |  |  |
| s) advice on the interpretation of the statistical analysis; and |  |  |  |  |  |  |
| t) comments or recommendations, based on the outcomes of the proficiency testing round. |  |  |  |  |  |  |
| 4.8.3 Reports shall be made available to participants within planned timescales. In sequential proficiency testing schemes, e.g. where the turn-around time may be very long, and in schemes involving perishable materials, preliminary or anticipated results may be provided before final results are disclosed. |  |  |  |  |  |  |

| 4.8.4 The proficiency testing provider shall have a policy for the use of reports by individuals and organizations. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.8.5 When it is necessary to issue a new or amended report for a proficiency testing scheme, this shall include the following: |  |  |  |  |  |  |
| a) a unique identification; |  |  |  |  |  |  |
| b) a reference to the original report that it replaces or amends; and |  |  |  |  |  |  |
| c) a statement concerning the reason for the amendment or re-issue. |  |  |  |  |  |  |
| 4.9 Communication with participants |  |  |  |  |  |  |
| 4.9.1 The proficiency testing provider shall make detailed information available about the proficiency testing scheme. This shall include: |  |  |  |  |  |  |
| a) relevant details of the scope of the proficiency testing scheme; |  |  |  |  |  |  |
| b) any fees for participation; |  |  |  |  |  |  |
| c) documented eligibility criteria for participation; |  |  |  |  |  |  |
| d) confidentiality arrangements; and |  |  |  |  |  |  |
| e) details of how to apply. |  |  |  |  |  |  |

| 4.9.2 Participants shall be advised promptly by the proficiency testing provider of any changes in proficiency testing scheme design or operation. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.9.3 There shall be documented procedures for enabling participants to appeal against the evaluation of their performance in a proficiency testing scheme. The availability of this process shall be communicated to proficiency testing scheme participants. |  |  |  |  |  |  |
| 4.9.4 Relevant records of communications with participants shall be maintained and retained, as appropriate. |  |  |  |  |  |  |
| 4.9.5 If the proficiency testing provider issues statements of participation or performance, they shall contain sufficient information to not be misleading. |  |  |  |  |  |  |
| 4.10 Confidentiality |  |  |  |  |  |  |
| 4.10.1 The identity of participants in a proficiency testing scheme shall be confidential and known only to persons involved in the operation of the proficiency testing scheme, unless the participant waives confidentiality. |  |  |  |  |  |  |

| 4.10.2 All information supplied by a participant to the proficiency testing provider shall be treated as confidential. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 4.10.3 When an interested party requires the proficiency testing results to be directly provided by the proficiency testing provider, the participants shall be made aware of the arrangement in advance of participation. |  |  |  |  |  |  |
| 4.10.4 In exceptional circumstances, when a regulatory authority requires proficiency testing results to be directly provided to the authority by the proficiency testing provider, the affected participants shall be notified of this action in writing. |  |  |  |  |  |  |
| 5 Management requirements |  |  |  |  |  |  |
| 5.1 Organization |  |  |  |  |  |  |
| 5.1.1 Is the PTP/ Organization/ an entity that can be held legally responsible? |  |  |  |  |  |  |
| 5.1.2 Does the PTP hold the responsibility to carry out the proficiency testing operations in such a way to meeting the requirements of the Standard and satisfying the needs of the participants, the regulatory authorities or organisations providing recognition? |  |  |  |  |  |  |

| 5.1.3 Does the management system cover work carried out in the proficiency testing providers permanent facilities, sites away from permenant facilities and in or associated temporary facilities? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.1.4 If the PTP is part of an organisation performing activities other than PTP shall identify the responsibilities of key personnel in the organization that have an involvement in or could have influence on the PT acitivities in order to identify potential conflicts of interest. Does the procedure put in place to ensure that all activities of the PTP are conducted with impartiality. |  |  |  |  |  |  |
| 5.1.5 PTP shall a) have managerial and technical personnel with authority and resources to carry out duties, including the implementation, maintenance and improvement of the management system and to identify the occurrence of departures from the management system or for from the procedures for providing PT testing schemes, and to initailte actions to prevent or minimize such departues.? |  |  |  |  |  |  |

| b) have arrangements to ensure freedom from any undue internal and external commercial, financial and other pressures that may adversely affect the quality of work? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| c) have policies & procedures to ensure the protection of its participants confidential information and proprietary rights including procedures for their protection during electrnic storage and transmission? |  |  |  |  |  |  |
| d) have policies & procedures to avoid involvement in any activities that might diminishing confidence in its competence, impartiality, judgment or operational integrity |  |  |  |  |  |  |
| e) has the organisation and management structure, its place in any parent organisation and the relationships between quality management, technical operations and support services defined? |  |  |  |  |  |  |
| f) Are responsibility, authority and interrelationships and required competency of all personnel who manage, perform or verify work affecting quality of the operation of PT scheme? |  |  |  |  |  |  |

| g) Ensure that the personnel are aware of the relenace and importance of their activities and how they contribte to the achievement of the objectives of the management system? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| h) Provide adequate supervision of technical staff, including trainees,by persons familiar with procedures for each activity? |  |  |  |  |  |  |
| i) Is technical management having overall responsibility for the technical operations and the provision of the resources needed to ensure the required quality of PT schemes, including access to the necessary technical expertse and experience in the relevant field of testing, calibration or inspection as well as statistics as indicated in 4.4.1.4? |  |  |  |  |  |  |
| j) Is a quality manager (named as appropriate), who irrespective of other duries and responsibilities, shall have to defined responsibility and authority for ensuring that the management system is implemented and followed at all times? Quality manager shall have direct access to the highest level of management at which decision are taken on the PTPs policies/resources |  |  |  |  |  |  |
| k) Are deputies for key managerial personnel appointed? |  |  |  |  |  |  |

| 5.1.6 Are appropriate communication processes established within the management system? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.2 Management System |  |  |  |  |  |  |
| 5.2.1 Management system appropriate to the scope of its activities including the type, range and volume of proficiency testing that provided is established, implemented and maintained? 5.2.2 PTP shall define and document its policies, programmes, procedures and instructions to assure the quality of all aspects. Is documentation communicated to, understood by, available to, and implemented by the appropriate personnel? |  |  |  |  |  |  |
| 5.2.3 Are policies related to quality, including a quality policy statement, defined in a quality manual? Are overall objectives established and reviewed during management review? Is the quality policy statement issued under the authority of top management? |  |  |  |  |  |  |
| Whether the Quality Policy includes, at least |  |  |  |  |  |  |

| a) Commitment to good professional practice and to the quality of its testing and calibration |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| b) The laboratory’s standard of service; |  |  |  |  |  |  |
| c) Purpose of management system related to quality |  |  |  |  |  |  |
| d) Familiarisation of all personnel concerned with proficiency testing activities regarding quality documentation and implementation of the policies and procedures in their work |  |  |  |  |  |  |
| e) Commitment to comply with the standard and to continually improve the effectiveness of system |  |  |  |  |  |  |
| 5.2.4 Are evidence of commitment to the development and implementation of the management system and continually improving its effectiveness provided? |  |  |  |  |  |  |
| 5.2.5 Is the importance of meeting customer as well as statutory and regulatory requirements communicated to the organization by top management? |  |  |  |  |  |  |
| 5.2.6 Whether the quality manual includes or makes reference to the supporting procedures and outlines its structure of the documentation? |  |  |  |  |  |  |

| 5.2.7 Are the roles and responsibilities of technical management and the quality manger defined in the manual? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.2.8 Is the integrity of the management system maintained when changes to the management system are planned and implemented? |  |  |  |  |  |  |
| 5.3 Document Control |  |  |  |  |  |  |
| 5.3.1 General PTP shall establish and maintain procedures to control all documents (internal or external), such as regulations, standards, other normative docuemnts, PT scheme protocols, test or calibration methods, or both test and calibration methods, as well as drawings, software specifications, instructions and manuals. |  |  |  |  |  |  |
| 5.3.2.1 Are all documents issued as part of the management system shall be reviewed and approved by authorised personnel prior to issue? Is a master list or an equivalent document control procedure identifying the current revision status and distribution of documents available in arder to prevent the use of invalid or obsolete documents or both.? |  |  |  |  |  |  |
| 5.3.2.2. Are there procedures to ensure that; a) Authorised editions of appropriate documents are available at all locations where operations are performed b) Documents periodically reviewed and revised to ensure continuing suitability and compliance c) Invalid or obsolete documents are promptly removed from all points of issue or use? d) Obsolete documents are retained for legal or knowledge preservation purposes marked? |  |  |  |  |  |  |
| 5.3.2.3 Are documents generated by the PTP uniquely identified? Are the date of issue and/or revision status, page numbering, the total number of pages or a mark to signify the end of the document, and the issuing authority included in the documentation? |  |  |  |  |  |  |
| 5.3.3.1Are changes to documents reviewed & approved by the same function that performed the original review unless specifically designated otherwise? Have the designated personnel access to pertinent information prior to their review and approval? |  |  |  |  |  |  |

| 5.3.3.2 Is the altered or new text identified in the document or the appropriate attachments, where practicable? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.3.3.3 If amendment of documents by hand, pending re-issue is allowed, are the authorities for such amendments defined? Are amendments clearly marked, initialled and dated and revised documents re-issued.? |  |  |  |  |  |  |
| 5.3.3.4 Are procedures established to describe changes to documents maintained in computerised systems? |  |  |  |  |  |  |
| 5.4 Review of Requests, tenders and contracts |  |  |  |  |  |  |

| 5.4.1 Are procedures established and maintained for the review of requests, tenders and contracts? Review shall ensure that: a) The requirements, and methods to be used, are defined, documented and understood? b) PTP has the capability and resources to meet the requirements? c) Is the PT scheme is technically appropriate? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.4.2 Are records of reviews, including any changes maintained? Records of pertinent discussions with a customer relating to the customer’s requirements or the results of the work ducring the period of execution of the contrac or both are maintained? |  |  |  |  |  |  |
| 5.4.3 Do reviews cover all aspects of the request including subcontracted work? |  |  |  |  |  |  |
| 5.4.4 Are participants and other customers informed of any deviation from the contract or agreed PT scheme design? |  |  |  |  |  |  |

| 5.4.5 If a request or contract needs to be amended after PT schemes is underway, is the same contract review process repeated and are any amendments communicated to all affected personnel? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.5 Subcontracting services |  |  |  |  |  |  |
| 5.5.1 When a proficiency testing provider subcontracts work, the proficiency testing provider shall demonstrate that the subcontractors' experience and technical competence are sufficient for their assigned tasks and that they comply with the relevant clauses of this International Standard and other appropriate standards. |  |  |  |  |  |  |
| 5.5.2 PTP shall not subcontract the planning of the proficiency test scheme, evaluation of performance and the authorization of the final report |  |  |  |  |  |  |
| 5.5.3 PTP shall inform participants in advance and in writing of services that are or may be sub contracted |  |  |  |  |  |  |
| 5.5.4 Does the PTP take responsibility to the participants for the subcontractor’s work, except in the case the client or a regulatory authority specifies the subcontractor |  |  |  |  |  |  |

| 5.5.5 Does the PTP maintain a register used in the PT schemes and records of competence assessment against relevant parts of this international standard and other appropriate standards fo the work in question. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.6 Purchasing services and supplies |  |  |  |  |  |  |
| 5.6.1 Are policy and procedure(s) for the selection and purchasing of services and supplies that affect the quality of the PT schemes. Procedure includes all purchase, reception and storage of reagents, PT items, reference materials and other consumable materials relevant for the PT scheme. |  |  |  |  |  |  |
| 5.6.2 Are purchased supplies, equipments and consumable materials that affect the quality of PT schemes are inspected or verified before use? Are records of actions taken to check compliance maintained? |  |  |  |  |  |  |

| 5.6.3 Do Purchasing documents for items affecting the quality of PT schems describe the services and supplies ordered? Are these purchasing documents reviewed and approved for technical content prior to release? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.7 Service to the customer |  |  |  |  |  |  |
| 5.7.1 Does the PTP cooperate with participants and other customers in clarifying the customer’s request and in monitoring the PTP’s work performance? Does the PTP ensure confidentiality to other customers? |  |  |  |  |  |  |
| 5.7.2 Does the PTP obtain feedback, positive and negative, from its customers? Are feedback used to improve the management system, PT schemes and customer services? |  |  |  |  |  |  |
| 5.8 Complaints and appeals |  |  |  |  |  |  |
| Are policy and procedures for the resolution of complaints and appeals from participants, customers or other parties? Are records of all complaints, appeals, investigations and corrective actions maintained? |  |  |  |  |  |  |
| 5.9 Control of nonconforming work |  |  |  |  |  |  |
| 5.9.1 Are policies and procedures implemented when any aspect of its activities are not conform to procedures or agreed requirements of the customer? In the policy and procedures; a) Are responsibilities and authorities for management of nonconforming work designated and actions defined and taken when nonconformity is identified? b) Is an evaluation of the significance of the nonconforming work is made? c) Is corrective action taken immediately with decision on acceptability of the nonconformity? d)Is the PT participants and other customers notified and work recalled; where necessary? e)Is the responsibility for authorising the resumption of work defined? |  |  |  |  |  |  |

| 5.10 Improvements Does the PTP continually improve the effectiveness of its management system? Are the quality policy, quality objectives, audit results, data analysis, corrective/ preventive actions and management review used for improvement? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.11 Corrective actions |  |  |  |  |  |  |
| 5.11.1Are policy and procedure established and appropriate authorities designated for implementing corrective action, when nonconforming work or departures from the policies and procedures or technical operations have been identified? |  |  |  |  |  |  |
| 5.11.2 Does the procedure for corrective action start with an investigation to determine the root cause? |  |  |  |  |  |  |

| 5.11.3 Is PTP corrective action(s) most likely to eliminate the problem and to prevent recurrence selected and implemented? Are the Corrective actions to a degree appropriate to the magnitude and the risk of the problem? Are any required changes resulting from corrective action investigations documented and implemented? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.11.4 Are the results monitored to ensure that the corrective actions taken have been effective? |  |  |  |  |  |  |
| 5.11.5 Are appropriate areas of activity are audited as soon as possible, when non-conformities or departures cast doubts on the compliance with its own policies and procedures, or with the Standard? |  |  |  |  |  |  |

| 5.12 Preventive actions Are needed improvements and potential sources of non-conformities identified? Are action plans developed, implemented and monitored to reduce the likelihood of the occurrence of such nonconformities and to take advantage of the opportunities for improvement, when improvement opportunities are identified or if preventive action is required? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Do procedures for preventive actions include the initiation of such actions and application of controls to ensure that they are effective? |  |  |  |  |  |  |
| 5.13 Control of records |  |  |  |  |  |  |
| Are procedures established and maintained for identification, collection, indexing, access, filing, storage, maintenance and disposal of quality and technical records? |  |  |  |  |  |  |

| Are records legible and stored and retained to readily retrieve in facilities? Is a suitable environment provided to prevent damage or deterioration and to prevent loss? Are Retention times of records established? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Are records held secure and in confidential? |  |  |  |  |  |  |
| Are procedures to protect and back-up records stored electronically and to prevent unauthorised access to or amendment of these records? |  |  |  |  |  |  |
| 5.13.2 Technical records |  |  |  |  |  |  |
| 5.13.2.1 The proficiency testing provider shall retain records of all technical data relating to each proficiency testing round for a defined period, including, but not necessarily limited to: |  |  |  |  |  |  |
| a) results of homogeneity and stability testing; |  |  |  |  |  |  |
| b) instructions to participants; |  |  |  |  |  |  |
| c) participants' original responses; |  |  |  |  |  |  |
| d) collated data for statistical analysis; |  |  |  |  |  |  |
| e) information required for reports (see 4.8); and |  |  |  |  |  |  |
| f) final reports (summary or individual, or both). |  |  |  |  |  |  |

| 5.13.2.2 Data entry, Checking and calculation shall be recorded at the time and identifiable to the specific task and personnel responsible? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.13.2.3 Are mistakes occur in records following are considedered? a) identify the changes and date of alteration b) avoid loss of original data c) identigy the person making the alteration |  |  |  |  |  |  |
| 5.14 Internal audit |  |  |  |  |  |  |

| 5.14.1 Does the laboratory, conduct internal audits periodically, and in accordance with a predetermined schedule to verify that its operations continue to comply with the requirements of the management system and the Standard? Does the internal audit programme address all elements of the management system, technical operartion and PT item preparation, storage, distribution and reporting activities for the operation of PT schemes? Does the quality manager plan and organise audits as required by the schedule and requested by management? Are audits carried out by trained and qualified personnel independent of the activity to be audited? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |

| 5.14.2 Are timely corrective action taken when audit findings cast doubt on the effectiveness of the operations including the suitability and correctness of PT items, procedures, statistical evaluations and data presentation? Are Participants, customers or both notified in writing, if investigations show that the results may have been affected? |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.14.3 Are the area of activity audited, the audit findings and corrective actions recorded? |  |  |  |  |  |  |
| 5.14.4 Do follow-up audit activities verify and record the implementation and effectiveness of the corrective action taken? |  |  |  |  |  |  |
| 5.15 Management Review 5.15.1 Is the review of the management system and testing and/or calibration activities conducted in accordance with a predetermined schedule and procedure? Is the review conducted in a manner to ensure continuing suitability and effectiveness, and introducing necessary changes or improvements? Are the following covered in the review? suitability of policies and procedures, reports from managerial and supervisory personnel, the outcome of recent internal audits, corrective and preventive actions; assessments by external bodies, the results of inter-laboratory comparisons or proficiency tests, changes in the volume and type of the work, customer feedback, complaints; recommendations for improvement, other relevant factors, such as quality control, activities, resources and staff training |  |  |  |  |  |  |
| 5.15.2 Are findings from management reviews and the actions that arise from them recorded? Are those actions carried out within an appropriate and agreed timescale? |  |  |  |  |  |  |