CHECKLIST FOR ASSESING MEDICAL LABORATORY SAMPLE COLLECTION CENTERS

Name and Address of the Sample Collection Centre:

1. Premises

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 1.1 | Type of the Collection Centre | Owned / Managed / Franchisee |  |
| 1.2 | Size of premises | ____ Sq. feet/meters |  |
| 1.3 | Collection Centre is operational since (date) |  |  |
| 1.4 | Does it meet the requirement of the workload | Yes / No |  |
| 1.5 | Reception and waiting area separate from collection area | Yes / No |  |
| 1.6 | Hand washing facilities | Yes / No |  |
| 1.7 | Clean toilet facilities | Yes / No |  |
| 1.8 | Provision of privacy during collections | Yes / No |  |
| 1.9 | Hours of operation have been displayed | Yes / No |  |

2.  Accommodation and Environmental Conditions

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 2.1 | Is it adequately lit and clean | Yes / No |  |
| 2.2 | Is the humidity and temperature suitable | Yes / No |  |
| 2.3 | Are cleaning policies available | Yes / No |  |
| 2.4 | Is it adequately ventilated and prevented from dust | Yes / No |  |
| 2.5 | Does it have adequate space & separation to avoid cross contamination | Yes / No |  |
| 2.6 | Is the house keeping adequate | Yes / No |  |

3.  Equipment

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 3.1 | Refrigerators available | Yes / No |  |
| 3.2 | Centrifuge, if needed, available | Yes / No |  |
| 3.3 | Proper storage of supplies | Yes / No |  |
| 3.4 | Suitable chair and/ or couch for collection of blood, etc. | Yes / No |  |
| 3.5 | Basic first-aid materials | Yes / No |  |
| 3.6 | Telephone facility | Yes / No |  |
| 3.7 | AC for controlling temperature, if needed | Yes / No |  |
| 3.8 | Power backup for equipment | Yes / No |  |

| SRI LANKA ACCREDITATION BOARD FOR CONFORMITY ASSESSMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Title: Checklist for assessing Medical Laboratory Sample Collection Centers |  |  |  | Doc No : ML-FM(P)-24 (AA) |
| Issue No: 01 | Date of Issue: 2014-07-04 | Rev No: 00 | Date of Rev : | Page: 01 of 04 |

4.  Materials

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 4.1 | Material required for specimen collection eg. evacuated blood collection tubes, syringes, tubes, swabs etc. | Yes / No |  |
| 4.2 | No expired or outdated material in the premises | Yes / No |  |

5.  Staff

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 5.1 | Staff members related to sample collection | ____ nos. |  |
| 5.2 | Is it appropriate to the workload? | Yes / No |  |
| 5.3 | Initial training records available? | Yes / No |  |
| 5.4 | Ongoing training records available? | Yes / No |  |
| 5.5 | Does the staff possess knowledge of first-aid measures to deal with situations they are likely to encounter in the course of specimen collection? | Yes / No |  |
| 5.6 | Appropriate identification of the persons responsible for sample collection | Yes / No |  |

6.  Documentation and Records

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 6.1 | List of services provided | Yes / No |  |
| 6.2 | Information for patients and users | Yes / No |  |
| 6.3 | Request form |  |  |
| 6.4 | Primary Sample collection manual available | Yes / No |  |
| 6.5 | Instructions for pre-collection activities | Yes / No |  |
| 6.6 | Instructions for collection activities | Yes / No |  |
| 6.7 | Instructions for post-collection activities | Yes / No |  |
| 6.8 | Records of Internal audit (Available at laboratory) | Yes / No |  |

7.  Health and Safety

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 7.1 | Collection staff to observe universal precautions (to wear gloves, lab coat & protective mask) | Yes / No |  |
| 7.2 | Vaccinated against Hepatitis B | Yes / No |  |
| 7.3 | Vaccinated against other preventive diseases | Yes / No |  |

8.  Safety and Waste Disposal

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 8.1 | Approved receptacles for sharps and for contaminated waste available | Yes / No |  |
| 8.2 | Transport and disposal of waste is in accordance with applicable regulatory requirements | Yes / No |  |

| SRI LANKA ACCREDITATION BOARD FOR CONFORMITY ASSESSMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Title: Checklist for assessing Medical Laboratory Sample Collection Centers |  |  |  | Doc No : ML-FM(P)-24 (AA) |
| Issue No: 01 | Date of Issue: 2014-07-04 | Rev No: 00 | Date of Rev : | Page: 02 of 04 |

9.  Sample Collection and separation

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 9.1 | Are samples collected by the SCC sent only to the Laboratory? | Yes / No |  |
| 9.2 | Are Samples collected by the SCC sent to other Laboratories? | Yes / No |  |
| 9.3 | Are samples sent from other centers are accepted by the SCC and sent to the Laboratory? | Yes / No |  |
| 9.4 | If yes, is the identity of such centers maintained? Are all samples sent by all centers covered? | Yes / No |  |
| 9.5 | Are there any measures to control conditions of such centers? | Yes / No |  |
| 9.6 | Are samples separated at the SCC? | Yes / No |  |
| 9.7 | If so are necessary resources available for maintaining integrity of samples? | Yes / No |  |
| 9.8 | Recording of date and, where relevant, time of primary sample collection | Yes / No |  |
| 9.9 | Date and time of sample receipt, if applicable | Yes / No |  |

10.  Packing

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 10.1 | Is the primary container containing specimen leak proof tube or vial? If applicable | Yes / No |  |
| 10.2 | Does the secondary container possess sufficient absorbent material to absorb the contents if the primary container leaks? If applicable | Yes / No |  |
| 10.3 | Are both the above containers properly labelled? If applicable | Yes / No |  |
| 10.4 | Is the secondary container packed into appropriate outer packing and labelled appropriately? If applicable | Yes / No |  |
| 10.5 | Is cooling agent included in the outer package if cold chain is to be maintained? If applicable | Yes / No |  |
| 10.6 | Is the outer package labelled, addressed and taped securely? If applicable | Yes / No |  |
| 10.7 | Are the pap smears mailed in rigid slide mailers to prevent breakage of the slide? If applicable | Yes / No |  |

11. Transportation of specimens

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 11.1 | Has the specimen collection staff participated in training in specimen collection, transport, handling of emergencies etc? | Yes / No |  |
| 11.2 | Has the above staff participated in retraining undertaken at not greater than two year interval? | Yes / No |  |
| 11.3 | Is the parcel of infectious substances attached with a plastic envelope containing document – ‘Bio-hazardous diagnostic specimens’? If applicable | Yes / No |  |

| SRI LANKA ACCREDITATION BOARD FOR CONFORMITY ASSESSMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Title: Checklist for assessing Medical Laboratory Sample Collection Centers |  |  |  | Doc No : ML-FM(P)-24 (AA) |
| Issue No: 01 | Date of Issue: 2014-07-04 | Rev No: 00 | Date of Rev : | Page: 03 of 04 |

12.  Delivery of Reports

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 12.1 | Does the SCC deliver reports issued by the Laboratory | Yes / No |  |
| 12.2 | If so, does the report cover the test requested for? | Yes / No |  |
| 12.3 | If so, does the report indicate whether the sample has been collected from SCC? | Yes / No |  |
| 12.4 | Does the report include only the tests performed by the Laboratory? Is SLAB logo unambiguously displayed in reports? | Yes / No |  |
| 12.5 | Are the reports delivered to the customers with in stated time frame? |  |  |

13.  Complaints and Feedback

|  |  |  | Remarks |
| --- | --- | --- | --- |
| 13.1 | Does the collection centre has provision for receiving of complaints / feedback | Yes / No |  |
| 13.2 | Are the complaints / feedback reviewed and resolved by the laboratory | Yes / No |  |

Overall Comments:

Note to Assessors -

- Indicate any important points that will support or hinder the decision of assessment under the ‘Remarks’ column of each aspect.

- Summarize the findings of each SCC assessed in the technical assessor’s report and raise discrepancies, if any as nonconformities or observations in the relevant assessment formats provided.

Date: 							Signature of Technical Assessor:

| SRI LANKA ACCREDITATION BOARD FOR CONFORMITY ASSESSMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Title: Checklist for assessing Medical Laboratory Sample Collection Centers |  |  |  | Doc No : ML-FM(P)-24 (AA) |
| Issue No: 01 | Date of Issue: 2014-07-04 | Rev No: 00 | Date of Rev : | Page: 04 of 04 |