## Table 1
ANNEXURE 07: SELF-ASSESSMENT CHECKLIST – ISO/IEC 17043:2023
Note 1: Y – Comply N – Not Comply NA- Not Applicable
Note 2: Please attach evidence for laboratory system documents along with Management systems documents
Note 3: Please refer relevant requirement of ISO/IEC 17043:2023
SI No | ISO/IEC 17043:2023 Clause No. |  | Element | Compliance |  |  | Reference to laboratory system documents / explanation on how the laboratory fulfils the requirements | SLAB OFFICE USE ONLY
|  |  |  | Y | N | NA |  | Remarks by the Reviewer | Further Action Required | Action Taken | Reference Documents
1 | General Requirements - 4.1.Impartiality | 4.1.1 | Are PT activities undertaken impartially
2 |  | 4.1.2 | Is the PT provider structured and managed so as to safeguard impartiality
3 |  | 4.1.3 | Is the PT provider responsible for the impartiality of its PT activities and shall not allow commercial, financial or other pressures to compromise its impartiality.
4 |  | 4.1.4 | Is the PT provider monitor its activities and its relationships to identify threats to its impartiality. This monitoring shall include the relationships of its personnel
5 |  | 4.1.5 | If a threat to impartiality is identified, its effect shall be eliminated or minimized so that the impartiality is not compromised.
6 |  | 4.1.6 | Is the PT provider has top management commitment to impartiality
7 | General Requirements - 4.2.Confidentiality | 4.2.1 | Is the PT provider responsible, through legally enforceable agreements, for PT activities? Is the PTP inform the client in advance of the information it intends to place in the public domain
8 |  | 4.2.2 | When the PTP is required by law or authorized by contractual arrangements to release confidential information, the client concerned shall be notified of the information released, unless prohibited by law.
9 |  | 4.2.3 | Are information about the customer obtained from sources other than the customer (e.g. complainant, regulators) confidential between the customer and the laboratory? (The provider (source) of this information shall be confidential to the laboratory shall not be shared with the customer, unless agreed by the source)
10 |  | 4.2.4 | Has all Personnel, including any committee members, contractors, personnel of external bodies, or persons acting on the PT provider’s behalf, keep confidential all information obtained or created during the PTP activities
11 |  | 4.2.5 | Has the identity of participants in a PT scheme kept confidential and known only to persons involved in the operation of the PT scheme, unless the participant or the customer waives confidentiality.
12 | 5.Structural Requirements | 5.1 | Is the PTP a legal entity, or a defined part of a legal entity, that is legally responsible for its PT activities?
13 |  | 5.2 | Does the PTP has identified management that has overall responsibility for the PT activities?
14 |  | 5.3 | Does the PTP defined and documented the PT schemes for which it conforms to the standard?
15 |  | 5.4 | Do the laboratory activities carry out in such a way as to meet the requirements of this document, the laboratory’s customers, regulatory authorities and organizations providing recognition? Are laboratory activities performed in all its permanent facilities, at sites away from its permanent facilities, in associated temporary or mobile facilities or at a customer’s facility.
16 |  | 5.5 | Does the PTP, a. defines the organization and management structure of the PTP, its place in any parent organization, and the relationships between management, technical operations and support services; b. specifies the responsibility, authority and interrelationship of all personnel who manage, perform or verify work affecting the results of PT activities; c. document its procedures to the extent necessary to ensure the consistent application of its PT activities and the validity of the results.
17 |  | 5.6 | Does the PTP have personnel who, irrespective of other responsibilities, have the authority and resources needed to carry out their duties, including: a. implementation, maintenance and improvement of the management system; b. identification of deviations from the management system or from the procedures for performing PT activities; c. initiation of actions to prevent or minimize such deviations; d. reporting to management on the performance of the management system and any need for improvement; e. ensuring the effectiveness of PT activities.
18 |  | 5.7 | Does the PTP management ensured that: a. communication takes place regarding the effectiveness of the management system and the importance of meeting the requirements of participants, customers, regulatory authorities and organizations providing recognition; b. the integrity of the management system is maintained when changes to the management system are planned and implemented
19 | Resource Requirements - 6.1.General | 6.1.1 | Does the PTP have have access to the personnel, facilities, equipment, systems and support services necessary to manage and perform its PT activities
20 |  | 6.1.2 | Measurements or tests conducted under the responsibility of the PTP, related to PT item characterization or for assessing homogeneity and stability, conducted in accordance with the relevant requirements of ISO/IEC 17025
21 |  | 6.1.3 | Where the PT item is a material that meets the definition of “reference material”, it shall be produced under conditions that meet the relevant requirements of ISO 17034.
22 | Resource Requirements - 6.2.Personnel | 6.2.1 | Does the PTP have access to a sufficient number of competent personnel to perform its PT activities.
23 |  | 6.2.2 | Does the PTP ensure that the personnel have the competence to: a) perform PT activities for which they are responsible; b) evaluate the significance of deviations
24 |  | 6.2.3 | Does the PTP have a process for managing competence of its personnel?
25 |  | 6.2.4 | Do all personnel of the PTP (either internal or external) that could influence the PT activities act impartially.
26 |  | 6.2.5 | Does the PTP have documented information demonstrating competence of its personnel that can influence the results of its PT activities. Documented information shall include requirements for education, qualification, training, technical knowledge, skills and experience.
27 |  | 6.2.6 | The PTP shall, where appropriate, authorize personnel to perform specific activities within PT schemes, including but not limited to the following: a) plan PT schemes; b) assess data/information to determine stability and homogeneity, if applicable, as well as assigned values and associated uncertainties of the properties or characteristics of the PT item; c) evaluate the performance of PT participants; d) give opinions and interpretations as well as advice to the participants; e) review and authorize PT reports.
28 |  | 6.2.7 | Does the PTP’s management communicate to all personnel their duties, responsibilities and authorities.
29 | Resource Requirements - 6.3.Facilities and environmental conditions | 6.3.1 | To ensure the validity of the PT activities, does the PTP ensure that there are appropriate facilities for the operation of the PT scheme.
30 |  | 6.3.2 | The PTP shall ensure that the environmental conditions do not compromise the PT activities, including operations that are undertaken at sites away from the PT provider’s permanent facilities or that are undertaken by external service providers
31 |  | 6.3.3 | Does the PTP document environmental conditions that can influence the validity of the PT items and any measurements or tests carried out, including conditions that are required by relevant specifications and measurement or test methods PTP shall control, monitor and periodically review these conditions and shall record all relevant monitoring activities.
32 |  | 6.3.4 | Access control to, and use of, areas affecting the PT activities shall be managed. The PTP shall determine the extent of access control based on its particular circumstances.
33 |  | 6.3.5 | Is there appropriate separation between neighbouring areas. Action shall be taken to prevent cross-contamination, interference or adverse influences on PT activities.
34 | Resource Requirements - 6.4.Externally provided products and services | 6.4.1 | Shall the PT provider not use external service providers for the following activities: a) the design and planning of PT schemes; b) the evaluation of performance; c) the authorization of reports. NOTE This does not prevent the PT provider from using advice or assistance from any advisors, experts or steering groups
35 |  | 6.4.2 | Shall the PT provider have procedures to ensure that the experience and technical competence of the providers of external products and services are sufficient for their assigned tasks and that they comply with the relevant clauses of this document and other appropriate documents.
36 |  | 6.4.3 | shall the PT provider inform participants and customers, in advance and in writing, of products and services that are or can be provided externally, when they affect the validity of the PT activities.
37 |  | 6.4.4 | Shall the PT provider have a procedure and retain records for: a) defining, reviewing and approving the PT provider’s requirements for externally provided products and services; b) defining the criteria for selection of the external providers and for evaluating and monitoring their performance; c) ensuring that externally provided products and services conform to the PT provider’s established requirements and, when applicable, to the relevant requirements of this document, before they are used or directly provided to the participant or customer; d) taking any actions arising from the performance monitoring and evaluation of the external providers.
38 |  | 6.4.5 | Shall the PT provider communicate its requirements to external providers for: a) the products and services to be provided; b) the acceptance criteria; c) competence, including any required qualification of the organization or personnel involved; d) PT activities that the PT provider or its customers intend to perform at the external provider’s premises.
39 |  | 6.4.6 | Shall the PT provider be responsible to the participants or customers for the externally provided products and services. NOTE In cases where the customer or a regulatory authority specifies which external provider is to be used, being responsible can be interpreted as taking actions to minimize the undesired effect that directly affects the validity of PT activities.
40 | 7.Process requirements - 7.1.1.Review of requests, tenders and contracts | 7.1.1.1 | 7.1.1.1 Does the PTP have procedure for the review of requests, tenders and contracts. The procedure shall ensure that: a) the objectives of the PT scheme are sufficiently defined and in agreement with the customers' needs; b) the requirements are adequately defined, documented and understood; c) the PT provider has the capability and resources necessary to meet the requirements; d) the PT scheme is technically appropriate taking into account the needs of the given application or field of application NOTE 1 This review is particularly important when a customer requests a PT scheme to be created for a specific purpose or for a different level or frequency of participation from that normally offered. NOTE 2 This review can be simplified when the PT scheme is fully described in a catalogue or other notice and the participant is enrolling for a routine PT round.
41 |  | 7.1.1.2 | The review shall cover all aspects of the request, including any externally provided products and services.
42 |  | 7.1.1.3 | Does the PTP keep records of such reviews, including any significant changes and also any pertinent discussions with a customer relating to their requirements, or the results of the PT activities.
43 |  | 7.1.1.4 | Does PTP inform any deviation from the contract ?
44 |  | 7.1.1.5 | If a request or contract is amended after the PT scheme is underway, does the contract review be repeated and any amendments shall be communicated to all affected personnel.
45 | 7.Process requirements -7.1.2.PT scheme communication | 7.1.2.1 | Does the PTP make detailed information available about the PT scheme to participants and customers. This information shall include: a) objectives and relevant details of the PT scheme; b) criteria to be met for participation; c) criteria for determining the assigned value and the evaluation of performance; d) confidentiality arrangements; e) critical timelines; f) any fees for participation; g) details of how to apply.
46 |  | 7.1.2.2 | Does participants and customers advise in a timely manner by the PTP of any changes in PT scheme design or operation.
47 |  | 7.1.2.3 | Does the records of relevant communications maintain and retained by the PT provider, as appropriate.
48 | Process requirements - 7.2.Design and planning of a PT scheme | 7.2.1.1 | Does the PT provider identify, design and plan those activities which directly affect the validity of the PT scheme and ensure that activities are carried out in accordance with prescribed procedures. NOTE When designing and planning the PT scheme, the relevant standards and requirements specific to the objectives of the PT scheme can be considered, e.g. ISO/IEC 17025, ISO 15189, ISO/IEC 17020. Safety and ethical issues can also be considered.
49 |  | 7.2.1.2 | When a PT provider intends to introduce significant changes to activities which can affect the validity of the PT scheme, shall the PTP identify and manage the risk to ensure the validity of the PT scheme is maintained. Examples of significant changes are new approaches for PT item production, assessment of homogeneity and stability, determination of the assigned value, statistical analysis and new types of PT activities.
50 |  | 7.2.1.3 | 7.2.1.3 Does the PTP develop a documented plan before commencement of the PT scheme that addresses the objectives, purpose and basic design of the PT scheme. The plan shall include the following information and, where appropriate, reasons for the selection or exclusion of the specific information: a) the personnel involved in the design and operation of the PT scheme; b) the activities to be undertaken by external providers of products and services and their contact details; c) criteria to be met for participation in the PT scheme; d) the number and type of expected participants in the PT scheme; e) description of activities to be performed and results to be reported by participants; f) a description of the range of values or characteristics, or both, to be expected for the PT items; g) the potential major sources of errors involved in the area of PT offered; h) requirements for the production, quality control, storage and distribution of PT items; i) arrangements to prevent collusion between participants or falsification of results and procedures to be employed if collusion or falsification of results is suspected; j) a description of the information which will be supplied to participants and the time schedule for the various phases of the PT scheme; k) for continuous PT schemes, the frequency or dates upon which PT items will be distributed to participants, the deadlines for the return of results by participants and, where appropriate, the dates on which measurements or tests will be carried out by participants; l) any information on methods or procedures which participants must use to store, handle, prepare, ship or dispose of the PT item and perform the measurements or tests; m) procedures for the measurement or test methods to be used for the homogeneity and stability testing of PT items and, where applicable, to determine their biological viability; n) preparation of any standardized reporting formats to be used by participants; o) a detailed description of the statistical analysis to be used; p) the origin, metrological traceability and uncertainty of any assigned values; NOTE Assigned values can have uncertainty contributions from sources in addition to the uncertainty of measurement results used for characterization, such as inhomogeneity and instability, and interlaboratory differences if more than one laboratory is used for characterization. q) the treatment of results from different measurement or test methods, where permitted by the PT scheme; r) criteria for the evaluation of the performance of participants; s) a description of the data, interim reports or information to be returned to participants; t) a description of the extent to which participant results, and the conclusions that will be based on the outcome of the PT scheme, will be made public or shared; u) actions to be taken in the case of lost, delayed or damaged PT items.
51 |  | 7.2.2.1 | Does the statistical designs are develop to meet the objectives of the PT scheme, based on the type of data (quantitative or qualitative, including ordinal and nominal), statistical assumptions, the type of errors and the expected number of results.
52 |  | 7.2.2.2 | Does the PTP document the statistical design and data analysis methods to be used to determine the assigned value and to evaluate the participant results, and has document the reasons for the selection and the assumptions upon which the statistical design and data analysis methods are based. The PTP shall be able to demonstrate that statistical assumptions are reasonable and that statistical analyses are carried out in accordance with prescribed procedures.
53 |  | 7.2.2.3 | In designing a statistical analysis, does the PTP give careful consideration to the following: a) the accuracy, as well as the uncertainty, required or expected for the assigned value for each property or characteristic in the PT scheme; b) the minimum number of participants in the PT scheme needed to meet the objectives of the statistical design. In cases where there is an insufficient number of participants to meet these objectives or to produce statistically meaningful analysis of participant results, the PTP shall document, and provide to participants, details of the alternative approaches used to assess participant performance; c) the relevance of significant figures to the reported participant result, including the number of decimal places; d) the number of PT items to be measured or tested and the number of repeat measurements or tests to be conducted on each PT item or for each determination; e) the procedures used to establish the standard deviation for proficiency assessment or other evaluation criteria; f) the procedures to be used to treat participant results from different measurement or test methods which are not technically equivalent, where permitted by the PT scheme; g) whether the measurement uncertainty of participant results shall be reported and how it will be used to evaluate the participant's performance; h) the procedures to be used to identify or handle outliers, or both; i) where relevant, the procedures for the evaluation of values excluded from statistical analysis; j) where appropriate, the objectives to be met for the design and the frequency of PT rounds.
54 |  | 7.2.3.1 | Does the PTP document the procedure for determining the assigned values for the properties or characteristics in a particular PT scheme. Where applicable, this procedure shall take into account the metrological traceability and uncertainty required to demonstrate that the PT scheme is fit for its purpose. NOTE ISO 13528 provides statistical methods for the determination of the assigned value.
55 |  | 7.2.3.2 | Does the PT schemes in the area of calibration have assigned values with metrological traceability.
56 |  | 7.2.3.3 | For PT schemes in areas other than calibration, shall the relevance, need and feasibility for the establishment of metrological traceability and the associated uncertainty of the assigned value be determined by taking into account the purpose of the PT scheme.
57 |  | 7.2.3.4 | When a consensus value is used as the assigned value, the PTP provides an estimate of the uncertainty of the assigned value [see Note to 7.2.1.3 item p)] as described in the plan for the PT scheme
58 |  | 7.2.3.5 | Does the PTP have a policy regarding the disclosure of assigned values. The policy shall ensure that participants cannot gain advantage from early disclosure.
59 | Process requirements - 7.3.1.Production and distribution of PT item | 7.3.1.1 | Does the PTP establish and implement procedures to ensure that PT items are produced in accordance with the plan described in 7.2 and are fit for the PT scheme's purpose
60 |  | 7.3.1.2 | Does the PTP establish and implement procedures to ensure appropriate selection, acquisition, collection, identification, preparation, handling, storage and, where required, disposal of all PT items.
61 |  | 7.3.1.3 | In PT schemes that require participants to sample, prepare or manipulate the PT item and submit it to the PTP, PTP shall issue appropriate instructions for preparation, environmental conditions (where applicable), packaging, handling, storage and shipping of the PT item.
62 | Process requirements - 7.3.2.Homogeneity and stability assessment of PT items | 7.3.2.1 | Does the criteria for suitable homogeneity and stability be established and based on the risks that inhomogeneity and instability can impact the evaluation of the performance of participants.
63 |  | 7.3.2.2 | Does the procedures for the assessment of homogeneity and stability be documented and conducted, where applicable, in accordance with appropriate statistical designs
64 |  | 7.3.2.3 | Does the PTP do, Assessment of homogeneity and stability for every PT round after the PT items have been packaged in their final form NOTE 1 Homogeneity can be demonstrated prior to packaging where no influence of packaging is reasonably expected or when stability studies indicate that the material is preferably stored in bulk form. NOTE 2 Different approaches for the assessment of homogeneity and stability, including situations where experimental study is not feasible, are described in Annex B of this document, in ISO 13528 and in ISO Guide 35.
65 |  | 7.3.2.4 | Where experimental evidence is needed to assess homogeneity or stability of the PT item (or both), PT provider use appropriate methods to assess the homogeneity and stability of the PT item
66 |  | 7.3.2.5 | PT items demonstrated to be sufficiently stable to ensure that they will not undergo any significant change throughout the conduct of the PT round, including storage and transport. When this is not possible, the stability shall be quantified and considered as an additional component of the uncertainty associated with the assigned value of the PT item and/or taken into account in the evaluation criteria
67 |  | 7.3.2.6 | When PT items from previous PT rounds are retained for another PT round, property values or characteristics to be determined in the PT scheme be confirmed by the PTP prior to distribution
68 | Process requirements - 7.3.3.Handling and storage of PT items | 7.3.3.1 | From the time of production to their distribution to participants, PTP shall ensure that PT items are appropriately identified and stored to prevent contamination, damage or deterioration.
69 |  | 7.3.3.2 | Does the PTP have appropriate procedures for dispatch to, and receipt from, storage
70 |  | 7.3.3.3 | The condition of stored PT items be assessed at specified intervals or prior to distribution in order to detect possible deterioration.
71 |  | 7.3.3.4 | Where potentially hazardous PT items are used, facilities available to ensure their safe handling, decontamination and disposal.
72 | Process requirements - 7.3.4.Packaging, labelling and distribution of PT items | 7.3.4.1 | Does the PTP control packaging and labelling processes to the extent necessary to ensure conformity with relevant national, regional, or international safety and transport requirements.
73 |  | 7.3.4.2 | Does the PTP document relevant environmental conditions for the transport of PT items. If necessary, environmental conditions shall be monitored during transport.
74 |  | 7.3.4.3 | In PT schemes where participants are required to transport the PT items to other participants, or return them to the PTP, shall documented instructions for this transport, to ensure the validity of the PT item, be supplied.
75 |  | 7.3.4.4 | PTP shall ensure that labels are securely attached to the packaging of individual PT items and are designed to remain legible and intact throughout the PT round.
76 | Process requirements - 7.3.5.Instructions for participants | 7.3.5.1 | Does the PTP give participants sufficient notice before sending PT items, providing the date on which the PT items are likely to arrive or to be dispatched, unless the design of the PT scheme makes it inappropriate to do so.
77 |  | 7.3.5.2 | Does PTP give detailed documented instructions to all participants. Instructions to participants shall include: a) the necessity to treat PT items in the same manner as routine samples, including use of routine measurement or test methods, unless there are particular requirements of the PT scheme which require departure from this principle; b) details of factors which can influence the measurements or tests of the PT items, e.g. the nature of the PT items, conditions of storage, whether the PT scheme is limited to selected measurement or test methods and the timing of the measurements or tests; c) instructions for preparing or conditioning, or both, of the PT items before conducting the measurements or tests that would not be considered part of a laboratory’s usual expected practices, unless these activities are part of the PT scheme; d) any appropriate instructions on handling the PT items, including any safety requirements; e) any specific environmental conditions for the participant to conduct measurements or tests, or both, and, if relevant, any requirement for the participants to report relevant environmental conditions during the time of the measurement or test; f) specific and detailed instructions on the manner of recording and reporting results and associated measurement uncertainties, i.e. when the instructions include reporting of the expanded measurement uncertainty, the reported uncertainty shall include the coverage factor and the coverage probability; NOTE This instruction usually includes parameters such as the units of measurement, the number of significant figures or decimal places, and the reporting basis (e.g. on “dry weight” or “as received”). g) specific instructions on providing details concerning the measurement or test method used by the participant, where a single specific measurement or test method is not required; h) instructions on return or forwarding of the PT items, when applicable; i) the last date for the PT provider to receive the results from the participants; j) information on the contact details of the PT provider for enquiries.
78 | Process requirements - Evaluation and reporting of PT scheme results 7.4.1 Data analysis | 7.4.1.1 | Results received from participants shall be recorded and analysed by appropriate methods. Procedures shall be established and implemented to check the validity of data entry, data transfer, statistical analysis, and reporting
|  | 7.4.1.2 | Data analysis generate summary statistics and performance statistics and associated information consistent with the statistical design of the PT scheme
|  | 7.4.1.3 | Influence of outliers on summary statistics shall be minimized by using an appropriate statistical approach.
|  | 7.4.1.4 | Does the PTP have procedures for treatment of results from different measurement or test methods, where the PT scheme allows participants to use different measurement or test methods.
|  | 7.4.1.5 | Does the PTP have documented criteria and procedures for dealing with measurement or test results that are inappropriate for statistical evaluation, e.g. because of calculation errors, transpositions and other gross errors.
|  | 7.4.1.6 | Does the PTP have documented criteria and procedures for dealing with measurement or test results that are inappropriate for statistical evaluation, e.g. because of calculation errors, transpositions and other gross errors.
79 | Process requirements - 7.4.2.Evaluation of performance | 7.4.2.1 | Does PTP use valid methods of evaluation which meet the objectives of the PT scheme. The methods shall be documented and include a description of the basis for the evaluation NOTE Examples of valid methods of evaluation are described in ISO 13528.
80 |  | 7.4.2.2 | Where applicable, for the objectives of the PT scheme, PTP shall provide expert commentary on the performance of participants with regard to the following a) overall performance against prior expectations, taking measurement uncertainties into account; b) variation within and between participants, and comparisons with any previous PT rounds, similar PT schemes, or published data; c) variation between measurement or test methods; d) possible sources of error (with reference to outliers or poor performance) and suggestions for improving performance; e) advice and feedback to participants as part of the continuous improvement procedures of participants; f) situations where unusual factors make evaluation of results and commentary on performance impossible; g) any other suggestions, recommendations or general comments; h) conclusions. NOTE It can be useful to provide individual summary sheets for participants periodically during or after completion of a particular PT round. These can include updated summaries of performance for individual participants over successive PT rounds of a continuous PT scheme. Such summaries can be further analysed and trends highlighted, if required.
81 | Process requirements - 7.4.3 PT reports | 7.4.3.1 | PT reports be clear, accurate, objective and comprehensive and include data covering the results of all participants, together with an indication of the performance of individual participants NOTE When it is not practical to report all original data to participants, a summary of the results, e.g. in tabulated or graphical form, can be supplied
82 |  | 7.4.3.2 | Does the reports include the following, unless it is not applicable or the PT provider has valid reasons for not doing so: a) the name and contact details of the PT provider; b) identification of person(s) authorizing the report; c) an indication of which activities are provided by external providers when they affect the production or characterization of the PT items or the services provided; d) the date of issue and status (e.g. preliminary, interim, or final) of the report; e) unique identification that all its components are recognized as a portion of a complete report and a clear identification of the end; f) a statement of the extent to which results are confidential; g) a unique identification of the report and the PT scheme; h) a clear description of the PT items used, including necessary details of the PT item's production and homogeneity and stability assessment; i) the results of participants, including the reported measurement uncertainties; j) procedures used to statistically analyse the data; k) statistical data and summaries, including assigned values, range of acceptable results and graphical displays; l) details of the metrological traceability, and uncertainty of any assigned value; m) procedures used to establish any assigned value and its uncertainty; n) assigned values, their uncertainties and summary statistics for measurement or test methods used by each group of participants (if different measurement or test methods are used by different groups of participants); o) procedures used to establish the standard deviation for proficiency assessment, or other criteria for evaluation; p) comments on the performance of participants; q) information about the design and implementation of the PT scheme; r) advice on the interpretation of the statistical analysis; s) comments or recommendations based on the outcomes of the PT round. NOTE For continuous PT schemes, it can be sufficient to have simpler reports, such that many of the elements in this subclause (7.4.3.2) can be excluded from routine reports but included in the PT scheme procedures or in periodic summary reports that are available to participants.
83 |  | 7.4.3.3 | Reports shall be made available to participants within planned timescales. In sequential PT schemes, e.g. where the turn-around time can be very long, and in PT schemes involving perishable materials, preliminary or anticipated results may be provided before final results are disclosed NOTE Preliminary or anticipated results allow for early investigation of possible errors
84 |  | 7.4.3.4 | Does the PTP have a policy for the use of reports by participants and customers
85 |  | 7.4.3.5 | When it is necessary to issue a new or amended report for a PT scheme or PT round, shall this report include the following: a) a unique identification; b) a reference to the original report that it replaces or amends; c) identification of the amendment and a statement concerning the reason for the amendment or re-issue.
86 |  | 7.4.3.6 | When issuing an amended report to a subset of participants, shall an analysis of the potential impact on the other participants for that PT scheme and/ or PT round be made to ensure there is no influence on the general performance of the other participants.
87 |  | 7.4.3.7 | If the PT provider issues a statement of participation or performance in addition to the PT report, statement shall not be misleading.
88 | Process requirements - 7.5 Control of the PT scheme process Technical records | 7.5.1.1 | Does the PTP ensure that technical records for each PT activity contain the results, reports and sufficient information to facilitate, if possible, identification of factors affecting the PT performance evaluation and its associated characteristics and enable the repetition of the PT activity under conditions as close as possible to the original. The technical records shall include the date and the identity of personnel responsible for each PT activity and for checking data and results
89 |  | 7.5.1.2 | Data used to verify the PT items, instructions to participants, the original responses of participants and any other information included in reports shall be recorded at the time they are made and be identifiable with the specific task
90 |  | 7.5.1.3 | Does the PTP ensure that amendments to technical records can be tracked to previous versions or to original information submitted by participants. Both the original and amended data and files shall be retained, including the date of alteration, an indication of the altered aspects and the personnel responsible for the alterations
91 | Process requirements - 7.5.2.Control of data and information management | 7.5.2.1 | Does the PTP have access to the data and information needed to perform its activities.
92 |  | 7.5.2.2 | Does the PTP use information management system for the collection, processing, recording, reporting, storage or retrieval of data? If so those shall be validated for functionality, including the proper functioning of interfaces before introduction. Whenever there are any changes, including PT provider software configuration or modifications to commercial off-the-shelf software, be authorized, documented and validated before implementation NOTE 1 In this document, a PT provider information management system includes the management of data and information contained in both computerized and non-computerized systems. Some of the requirements can be more applicable to computerized systems than to non-computerized systems NOTE 2 Commercial off-the-shelf software in general use within its designed application range can be considered sufficiently validated
93 |  | 7.5.2.3 | PTP information management system: a) be protected from unauthorized access; b) be safeguarded against tampering and loss; c) be operated in an environment that complies with the system supplier or PT provider specifications or, in the case of non-computerized systems, provides conditions which safeguard the accuracy of manual recording and transcription; d) be maintained in a manner that ensures the integrity of the data and information; e) include recording of system failures and the appropriate immediate and corrective actions
94 |  | 7.5.2.4 | When a PTP’s information management system is managed and maintained off-site or through an external service provider, PTP shall ensure that the external service provider or operator of the system complies with all applicable requirements of this document
95 |  | 7.5.2.5 | Does the PTP ensure that instructions, manuals and reference data relevant to the PT provider information management system are made readily available to personnel
96 |  | 7.5.2.6 | Calculations and data transfers be checked in an appropriate and systematic manner
97 | Process requirements - 7.5.3.Surveillance of the processes | 7.5.3 | PTP shall have a procedure to ensure the validity of the PT scheme. Surveillance activities shall be planned and reviewed [see also 8.9.2 item n)], and the resulting data shall be recorded for the continuous improvement process. NOTE Depending on the PT scheme, surveillance activities can include: — evaluation of externally provided products and services; — use of reference materials or other control items; — the transmission of results from participants; — control of statistical conditions to confirm the validity of performance evaluation; — checking of reports; — for continuous schemes, comparisons against previous PT rounds.
98 | Process requirements - 7.5.4.Nonconforming work | 7.5.4.1 | PTP shall have a procedure that shall be implemented when any aspect of its PT schemes does not conform to its own procedures or the agreed requirements of its participants or customers. The procedure(s) shall ensure that: a) the responsibilities and authorities for the management of nonconforming work are defined; b) actions (including halting work of ongoing PT schemes and/or PT rounds and withholding PT schemes and/or PT round reports, as necessary) are defined and are based upon the risk levels established by the PT provider; c) an evaluation of the significance of the nonconforming work is made, including an impact analysis on previous PT activities; d) a decision on the need for action and timescale is taken immediately, together with any decision about the acceptability of the nonconforming work; e) PT scheme participants and customers, as appropriate, are informed and the nonconforming PT items or PT reports already sent to participants are recalled or disregarded; f) the responsibility for authorization of the resumption of work is defined. NOTE Identification of nonconforming work or problems with the management system or with technical activities can occur at various places within the management system and technical operations. Examples are participant or customer complaints, management reviews and internal or external audits, surveillance of the processes, production of PT items, homogeneity and stability assessments, data analysis, instructions to participants and materials handling and storage.
99 |  | 7.5.4.2 | Does PTP retain records of nonconforming work and actions as specified in 7.5.4.1 items b) to f)
100 |  | 7.5.4.3 | Where the evaluation indicates that nonconforming work can recur or that there is doubt about the compliance of the PT provider with their own procedures, the corrective action procedure in 8.7 shall be promptly followed
101 | Process requirements - 7.6 Handling of complaints | 7.6.1 | Does the PTP have a documented procedure for handling complaints that shall include at least the following: a) a description of the process for receiving, substantiating and investigating the complaint and deciding what actions shall be taken in response; b) tracking and recording the complaint, including the actions undertaken to resolve it; c) ensuring that any appropriate action is taken.
102 |  | 7.6.2 | Does a description of the process for handling complaints is publicly available.
103 |  | 7.6.3 | Upon receipt of a complaint, does the PTP confirm whether the complaint relates to PT activities and, if so, shall resolve the complaint
104 |  | 7.6.4 | PTP receiving the complaint, shall be responsible for gathering all necessary information to determine whether the complaint is substantiated.
105 |  | 7.6.5 | Whenever possible does the PTP acknowledge receipt of the complaint and provide the complainant with the outcome and, if applicable, progress reports.
106 |  | 7.6.6 | Investigation and resolution of complaints shall not result in any discriminatory actions.
107 |  | 7.6.7 | Does the resolution of complaints be made by, or reviewed and approved by, persons not involved in the subject of the complaint in question. Where resources do not permit this, any alternative approach shall not compromise impartiality.
108 |  | 7.6.8 | Whenever possible, PTP shall give formal notice of the end of the handling of the complaint to the complainant.
109 |  | 7.6.9 | Does the PTP is responsible for all decisions at all levels of the handling process for complaints
110 | Process requirements - 7.7 Handling of appeals | 7.7.1 | Does the PTP have a documented procedure for handling appeals that shall include at least the following: a) a description of the process for receiving and investigating the appeal and deciding what actions shall be taken in response; b) tracking and recording the appeal, including the actions undertaken to resolve it; c) ensuring appropriate action is taken. NOTE PT providers that only have PT schemes using purely statistically derived evaluation procedures do not usually handle appeals. Appeals concerning performance evaluations can be addressed as a complaint.
111 |  | 7.7.2 | Does a description of the process for handling appeals available publicly.?
112 |  | 7.7.3 | Does the PTP acknowledge receipt of the appeal and provide the appellant with the outcome and, if applicable, progress reports.
113 |  | 7.7.4 | Does the PTP receiving the appeal be responsible for gathering all necessary information to determine whether the appeal is valid.
114 |  | 7.7.5 | Does the PTP responsible for all decisions during the process for handling appeals.
115 |  | 7.7.6 | The decision on the appeal shall be made by, or reviewed and approved by, persons not involved in the decision that is the subject of the appeal in question.
116 |  | 7.7.7 | Does investigation and decision on appeals not result in any discriminatory actions.
117 | 8 Management system requirements 8.1 General requirements | 8.1.1 | Does the PTP establish, document, implement and maintain a management system to support and demonstrate the consistent fulfilment of the requirements of this document and its scope of PT activities.
118 |  | 8.1.2 | Does the management system of the PTP include at least the following: — policies; — responsibilities; — management system documentation (see 8.2); — control of management system documents (see 8.3); — control of records (see 8.4); — actions to address risks and opportunities (see 8.5); — improvement (see 8.6); — corrective actions (see 8.7); — internal audits (see 8.8); — management reviews (see 8.9).
119 |  | 8.1.3 | The PTP may meet 8.1.2 by establishing, implementing and maintaining a quality management system (e.g. in accordance with the requirements of ISO 9001). This quality management system shall support and demonstrate the consistent fulfilment of the requirements of this document
120 |  | 8.1.4 | Does the PTP management has evidence for commitment to the development and implementation of the management system and to continually improving its effectiveness.
121 | 8.2 Management system documentation | 8.2.1 | Does the policies and objectives address the competence, impartiality and consistent operation of the PTP
122 |  | 8.2.2 | Are all documentation, processes, systems and records related to the fulfilment of the requirements of this document be included in, or referenced from, the management system.
123 |  | 8.2.3 | Do all personnel involved in PT activities have access to the parts of the management system documentation and related information that are applicable to their responsibilities.
124 | 8.3 Control of management system documents | 8.3.1 | Does the PTP control the documents (internal and external) that relate to the fulfilment of this document
125 |  | 8.3.2 | 8.3.2 Does the PTP ensure that: a) documents are approved for adequacy prior to issue by authorized personnel; b) documents are periodically reviewed and updated as necessary; c) changes and current revision status of documents are identified; d) relevant versions of applicable documents are available at points of use and their distribution is controlled; e) documents are uniquely identified; f) the unintended use of obsolete documents is prevented and that suitable identification is applied to them if they are retained for any purpose.
126 | 8.4 Control of records | 8.4.1 | Does the PTP establish and retain legible records to demonstrate fulfilment of the requirements in this document
127 |  | 8.4.2 | Does the PT provider had implemented the controls needed for the identification, storage, protection, back-up, archive, retrieval, retention time and disposal of its records.
128 |  | 8.4.3 | Does the PTP retain records for a period consistent with its contractual obligations. Access to these records shall be consistent with the confidentiality commitments and records shall be readily available. NOTE Additional requirements regarding technical records are given in 7.5.1.
129 | 8.5 Actions to address risks and opportunities | 8.5.1 | Does the PTP consider the risks and opportunities associated with the PT activities in order to: a) give assurance that the management system achieves its intended results; b) enhance desirable effects to achieve the purpose and objectives of the PT provider; c) prevent, or reduce, undesired impacts and potential failures in the PT activities; d) achieve improvement.
130 |  | 8.5.2 | Does the PTP plan: a) actions to address these risks and opportunities; b) how to integrate and implement these actions into its management system; c) how to evaluate the effectiveness of these actions. NOTE Although this document specifies that the PT provider plans actions to address risks, there is no requirement for formal methods for risk management or a documented risk management process. PT providers can decide whether or not to develop a more extensive risk management methodology, e.g. through the application of other guidance or standards.
131 |  | 8.5.3 | Do actions taken to address risks and opportunities be proportional to the potential impact on the validity of the PT scheme. NOTE 1 Examples of addressing risks include developing strategies for preventing collusion between participants and performing a feasibility study to evaluate the best transport conditions for the PT items of a PT scheme. NOTE 2 Opportunities can lead to expanding the scope of the PT activities, increasing the number of participants in a PT scheme, making a PT scheme more cost effective for the PT provider as well as the participants and customers, and reducing the time required to produce the PT items.
132 | 8.6 Improvement | 8.6.1 | Does the PTP identify and select opportunities for improvement and implement any necessary actions. NOTE Opportunities for improvement can be identified through the review of the operational procedures, the use of the policies, overall objectives, audit results, corrective actions, management review, suggestions from personnel, risk assessment, analysis of data and external assessments.
133 |  | 8.6.2 | Does the PTP seek feedback, both positive and negative, from its participants and customers. The feedback shall be analysed and used to improve the management system, PT activities and customer service. EXAMPLE Examples of the types of feedback include participant or customer satisfaction surveys, communication records and review of reports with participants and customers.
134 | 8.7 Corrective actions | 8.7.1 | When a nonconformity occurs, does the PT provider: a) react to the nonconformity and, as applicable: — take action to control and correct it; — address the consequences; b) evaluate the need for action to eliminate the cause(s) of the nonconformity, in order that it does not recur or occur elsewhere, by: — reviewing and analysing the nonconformity; — determining the causes of the nonconformity; — determining if similar nonconformities exist, or can potentially occur; c) implement any action needed; d) review the effectiveness of any corrective action taken; e) update risks and opportunities determined during planning, if necessary; f) make changes to the management system, if necessary.
135 |  | 8.7.2 | Do corrective actions be appropriate to the effects of the nonconformities encountered.
136 |  | 8.7.3 | Does the PTP retain records as evidence of: a) the nature of the nonconformities, cause(s) and any subsequent actions taken; b) the effectiveness of any corrective action.
137 | 8.8 Internal audits | 8.8.1 | 8.8.1 Does the PTP conduct internal audits at planned intervals to provide information on whether the management system: a) conforms to: — the PT provider’s own requirements for its management system, including the PT activities; — the requirements of this document; b) is effectively implemented and maintained.
138 |  | 8.8.2 | 8.8.2 Does the PTP: a) plan, establish, implement and maintain an audit programme including the frequency, methods, responsibilities, planning requirements and reporting, which shall take into consideration the importance of the PT activities concerned, changes affecting the PT provider and the results of previous audits; b) ensure that internal audits are performed by personnel knowledgeable in conducting PT activities and auditing and the requirements of this document and that these personnel are independent of activities being audited, wherever resources permit; c) define the audit criteria and scope for each audit;
139 | 8.9 Management reviews | 8.9.1 | Does the PTP management, review its management system at planned intervals, in order to ensure its continuing suitability, adequacy and effectiveness, including the stated policies and objectives related to the fulfilment of this document.
140 |  | 8.9.2 | Are inputs to management review recorded and include information related to the following: a) changes in internal and external issues that are relevant to the PT provider; b) fulfilment of objectives; c) suitability of policies and procedures; d) status of actions from previous management reviews; e) outcome of recent internal audits; f) corrective actions; g) assessments by external bodies; h) changes in the volume and type of the work or in the range of PT activities i) customer, participant and personnel feedback; j) complaints and appeals; k) effectiveness of any implemented improvements; l) adequacy of resources; m) results of risk identification; n) outcomes of the surveillance of the processes; o) other relevant factors, such as training.
141 |  | 8.9.3 | Are outputs from the management review recorded all decisions and actions related to,: a) the effectiveness of the management system and its processes; b) improvement of the activities related to the fulfilment of the requirements of this document; c) provision of required resources; d) any need for changes.
SRI LANKA ACCREDITATION BOARD FOR CONFORMITY ASSESSMENT
|  |  | Title: Self- Assessment Checklist – ISO/IEC 17043:2023 |  |  |  |  | Doc No: PT-FM (P) -11
|  |  | Issue No: 03 Date of Issue: 2025-03-10 | Rev No:00 |  |  | Date of Rev: | Page: 01 of 01

## Sheet1
Element
Impartiality
Has the laboratory activities undertaken impartially and structured and managed so as to safeguard impartiality?
Does the laboratory management commit to impartiality?
Does the laboratory responsible for the impartiality of its laboratory activities and not to allow commercial, financial or other pressures to compromise impartiality?
Has the laboratory identify risks to its impartiality on an on-going basis? (This shall include those risks that arise from its activities, or from its relationships, or from the relationships of its personnel. However, such relationships do not necessarily present a laboratory with a risk to impartiality)
Does the laboratory able to demonstrate how it eliminates or minimizes such risk?
Confidentiality
Does the laboratory responsible, through legally enforceable commitments, for the management of all information obtained or created during the performance of laboratory activities? Is it informed the customer in advance, of the information it intends to place in the public domain? (Except for information that the customer makes publicly available, or when agreed between the laboratory and the customer (e.g. for the purpose of responding to complaints), all other information is considered proprietary information and shall be regarded as confidential)
When the laboratory is required by law or authorized by contractual arrangements to release confidential information, is customer or individual concerned, unless prohibited by law, notified of the information provided?
Are information about the customer obtained from sources other than the customer (e.g. complainant, regulators) confidential between the customer and the laboratory? (The provider (source) of this information shall be confidential to the laboratory shall not be shared with the customer, unless agreed by the source)
Issue No: 02 Date of Issue: 2024-05-07
Element
Are personnel, including any committee members, contractors, personnel of external bodies, or individuals acting on the laboratory’s behalf, keep confidential all information obtained or created during the performance of laboratory activities?
Structural Requirements
Is the laboratory legal entity, or a defined part of a legal entity, that is legally responsible for its laboratory activities?
Does the laboratory has identified management that has overall responsibility for the laboratory activities?
Is it defined and documented the range of laboratory activities for which it conforms with this document (The laboratory shall only claim conformity with this document for this range of laboratory activities, which excludes externally provided laboratory activities on an ongoing basis)
Do the laboratory activities carry out in such a way as to meet the requirements of this document, the laboratory’s customers, regulatory authorities and organizations providing recognition? Are laboratory activities performed in all its permanent facilities, at sites away from its permanent facilities, in associated temporary or mobile facilities or at a customer’s facility.
Does the laboratory, a. define the organization and management structure of the laboratory, its place in any parent organization and the relationships between management, technical operations and support services; b. specify the responsibility, authority and interrelationship of all personnel who manage, perform or verify work affecting the results of laboratory activities; c. document its procedures to the extent where it is necessary to ensure the consistent application of its laboratory activities and the validity of the results.
Element
Does the laboratory have a personnel who, irrespective of other responsibilities, have the authority and resources needed to carry out their duties, including: a. implementation, maintenance and improvement of the management system; b. identification of deviations from the management system or from the procedures for performing laboratory activities; c. initiation of actions to prevent or minimize such deviations; d. reporting to laboratory management on the performance of the management system and any need for improvement; e. ensuring the effectiveness of laboratory activities.
Does the laboratory management have ensured that: a. communication takes place regarding the effectiveness of the management system and the importance of meeting customers’ and other requirements; b. the integrity of the management system is maintained when changes to the management system are planned and implemented.
Resource Requirements
General Does the laboratory have available personnel, facilities, equipment, systems and support services necessary to manage and perform its laboratory activities?
Personnel
Are all personnel of the laboratory, either internal or external, that could influence the laboratory activities act impartially, be competent and work in accordance with the laboratory’s management system?
Does the laboratory document the competence requirements for each function influencing the results of laboratory activities, including requirements for education, qualification, training, technical knowledge, skills and experience?
Is it ensured that the personnel have the competence to perform laboratory activities for which they are responsible and to evaluate the significance of deviations?
Does the management of the laboratory communicate to personnel their duties, responsibilities and authorities?
Element
Does the laboratory have procedure(s) and retain records for: a. determining the competence requirements; b. selection of personnel; c. training of personnel; d. supervision of personnel; e. authorization of personnel; f. monitoring of competence of personnel.
Is it authorized personnel, to perform specific laboratory activities, including but not limited to, the following: a. development, modification, verification and validation of methods; b. analysis of results, including statements of conformity or opinions and interpretations; c. report, review and authorization of results.
Facilities and environmental conditions
Are facilities and environmental conditions suitable for the laboratory activities and shall not adversely affect the validity of results?
Is it documented that the requirements for facilities and environmental conditions necessary for the performance of the laboratory activities?
Does the laboratory monitor, control and record environmental conditions in accordance with relevant specifications, methods or procedures or where they influence the validity of the results?
Are there measures to control facilities implemented, monitored and periodically reviewed and shall include, but not be limited to: a. access to and use of areas affecting laboratory activities; b. prevention of contamination, interference or adverse influences on laboratory activities; c. effective separation between areas with incompatible laboratory activities.
When the laboratory performs laboratory activities at sites or facilities outside its permanent control, is it ensured that the requirements related to facilities and environmental conditions of this document are met?
Element
Equipment
Does the laboratory have access to equipment including, but not limited to, measuring instruments, software, measurement standards, reference materials, reference data, reagents, consumables or auxiliary apparatus which is required for the correct performance of laboratory activities and which can influence the result?
In those cases where the laboratory uses equipment outside its permanent control, is it ensured that the requirements for equipment of this document are met?
Does the laboratory have a procedure for handling, transport, storage, use and planned maintenance of equipment in order to ensure proper functioning and to prevent contamination or deterioration?
Do they verify that equipment confirms to specified requirements before being placed or returned into service?
Are equipment used for measurement capable of achieving the measurement accuracy or measurement uncertainty required to provide a valid result?
Does the measuring equipment calibrated when: — the measurement accuracy or measurement uncertainty affects the validity of the reported results, — or calibration of the equipment is required to establish the metrological traceability of the reported result. — those used for the direct measurement of the measurand, e.g. use of a balance to perform a mass measurement; — those used to make corrections to the measured value, e.g. temperature measurements
Are calibration programs established, which shall be reviewed and adjusted as necessary in order to maintain confidence in the status of calibration?
Are all equipment requiring calibration or which has a defined period of validity labelled, coded or otherwise identified to allow the user of the equipment to readily identify the status of calibration or period of validity?
Element
Are equipment that has been subjected to overloading or mishandling, gives questionable results, or has been shown to be defective or outside specified requirements, taken out of service? Is it isolated to prevent its use or clearly labelled or marked as being out of service until it has been verified to perform correctly? Is it examined the effect of the defect or deviation from specified requirements and shall initiate the management of nonconforming work procedure?
When intermediate checks are necessary to maintain confidence in the performance of the equipment, are these checks carried out according to a procedure?
When calibration and reference material data include reference values or correction factors, is it ensured that the reference values and correction factors are updated and implemented, as appropriate, to meet specified requirements?
Does the laboratory take practicable measures to prevent unintended adjustments of equipment from invalidating results?
Are records retained for equipment which can influence laboratory activities? The records shall include the following, where applicable: a. the identity of equipment, including software and firmware version; b. the manufacturer’s name, type identification, and serial number or other unique identification; c. evidence of verification that equipment conforms with specified requirements; d. the current location; e. calibration dates, results of calibrations, adjustments, acceptance criteria, and the due date of the next calibration or the calibration interval; f. documentation of reference materials, results, acceptance criteria, relevant dates and the period of validity; g. the maintenance plan and maintenance carried out to date, where relevant to the performance of the equipment; . details of any damage, malfunction, modification to, or repair of, the equipment
Metrological Traceability
Element
Does the laboratory establish and maintain metrological traceability of its measurement results by means of a documented unbroken chain of calibrations, each contributing to the measurement uncertainty, linking them to an appropriate reference?
Is it ensured that measurement results are traceable to the International System of Units (SI) through one of the following: a. calibration provided by a competent laboratory; b. certified values of certified reference materials provided by a competent producer with stated metrological traceability to the SI; c. direct realization of the SI units ensured by comparison, directly or indirectly, with national or international standards.
When metrological traceability to the SI units is not technically possible, is it demonstrates metrological traceability to an appropriate reference, e.g. a. certified values of certified reference materials provided by a competent producer; b. results of reference measurement procedures, specified methods or consensus standards that are clearly described and accepted as providing measurement results fit for their intended use and ensured by suitable comparison.
Externally provided products and services
Is it ensured that only suitable externally provided products and services that affect laboratory activities are used, when such products and services: a. are intended for incorporation into the laboratory’s own activities; b. are provided, in part or in full, directly to the customer by the laboratory, as received from the external provider; c. are used to support the operation of the laboratory.
Are there procedures and retain records for: a. defining, reviewing and approving the laboratory’s requirements for externally provided products and services; b. defining the criteria for evaluation, selection, monitoring of performance and re- evaluation of the external providers; c. ensuring that externally provided products and services conform to the laboratory’s established requirements, or when applicable, to the relevant
Element
requirements of this document, before they are used or directly provided to the customer; d. taking any actions arising from evaluations, monitoring of performance and re- evaluations of the external providers.
Does the laboratory communicate its requirements to external providers for: a. the products and services to be provided; b. the acceptance criteria; c. competence, including any required qualification of personnel; d. activities that the laboratory, or its customer, intends to perform at the external provider’s premises
Process requirements
Review of requests, tenders and contracts
Does the laboratory have a procedure for the review of requests, tenders and contracts? The procedure shall ensure that: a. the requirements are adequately defined, documented and understood; b. the laboratory has the capability and resources to meet the requirements; c. where external providers are used, the requirements of 6.6 are applied and the laboratory advises the customer of the specific laboratory activities to be performed by the external provider and gains the customer’s approval; d. the appropriate methods or procedures are selected and are capable of meeting the customers’ requirements.
Does the laboratory inform the customer when the method requested by the customer is considered to be inappropriate or out of date?
When the customer requests a statement of conformity to a specification or standard for the test or calibration (e.g. pass/fail, in-tolerance/out-of-tolerance) the specification or standard, and the decision rule are clearly defined? Unless inherent in the requested specification or standard, the decision rule selected shall be communicated to, and agreed with, the customer.
Element
Are any differences between the request or tender and the contract resolved before laboratory activities commence? (Each contract shall be acceptable both to the laboratory and the customer. Deviations requested by the customer shall not impact the integrity of the laboratory or the validity of the results)
Are customers informed of any deviation from the contract?
Does the contract review repeated and any amendments are communicated to all affected personnel, if a contract is amended after work has commenced?
Does the laboratory cooperate with customers or their representatives in clarifying the customer’s request and in monitoring the laboratory’s performance in relation to the work performed? a. providing reasonable access to relevant areas of the laboratory to witness customer-specific laboratory activities; b. preparation, packaging, and dispatch of items needed by the customer for verification purposes.
Does the laboratory retain records of reviews, including any significant changes? Records shall also be retained of pertinent discussions with a customer relating to the customer’s requirements or the results of the laboratory activities.
Selection, verification and validation of methods
Selection and verification of methods
Does the laboratory use appropriate methods and procedures for all laboratory activities and, where appropriate, for evaluation of the measurement uncertainty as well as statistical techniques for analysis of data?
Does the laboratory keep all methods, procedures and supporting documentation, such as instructions, standards, manuals and reference data relevant to the laboratory activities, up to date and made readily available to personnel?
Does the laboratory ensure that it uses the latest valid version of a method unless it is not appropriate or possible to do so. When necessary, the application of the method is supplemented with additional details to ensure consistent application?
Element
When the customer does not specify the method to be used, does the laboratory select an appropriate method and inform the customer of the method chosen? Methods published either in international, regional or national standards, or by reputable technical organizations, or in relevant scientific texts or journals, or as specified by the manufacturer of the equipment, are recommended. Laboratory- developed or modified methods can also be used.
Does the laboratory verify that it can properly perform methods before introducing them by ensuring that it can achieve the required performance? Records of the verification shall be retained. If the method is revised by the issuing body, verification shall be repeated to the extent necessary.
When method development is required, is it a planned activity and assigned to competent personnel equipped with adequate resources? As method development proceeds, are periodic review carried out to confirm that the needs of the customer are still being fulfilled? Are any modifications to the development plan approved and authorized?
Are deviations from methods for all laboratory activities occur only if the deviation has been documented, technically justified, authorized, and accepted by the customer?
Validation of methods
Does the laboratory validate non-standard methods, laboratory-developed methods and standard methods used outside their intended scope or otherwise modified? The validation shall be as extensive as is necessary to meet the needs of the given application or field of application.
When changes are made to a validated method, are the influence of such changes determined and where they are found to affect the original validation, a new method validation is performed?
The performance characteristics of validated methods as assessed for the intended use, is it relevant to the customers’ needs and consistent with specified requirements?
Element
Does the laboratory retain the following records of validation? a. the validation procedure used; b. specification of the requirements; c. determination of the performance characteristics of the method; d. results obtained; e. a statement on the validity of the method, detailing its fitness for the intended use.
Sampling
Does the laboratory have a sampling plan and method when it carries out sampling of substances, materials or products for subsequent testing or calibration? Does the sampling method address the factors to be controlled to ensure the validity of subsequent testing or calibration results? Is the sampling plan and method available at the site where sampling is undertaken? Sampling plans shall, whenever reasonable, be based on appropriate statistical methods.
Does the sampling method describe: a. the selection of samples or sites; b. the sampling plan; c. preparation and treatment of sample(s) from a substance, material or product to yield the required item for subsequent testing or calibration.
Does the laboratory retain records of sampling data that forms part of the testing or calibration that is undertaken. These records shall include, where relevant: a. reference to the sampling method used; b. date and time of sampling; c. data to identify and describe the sample (e.g. number, amount, name); d. identification of the personnel performing sampling; e. identification of the equipment used; f. environmental or transport conditions; g. diagrams or other equivalent means to identify the sampling location when appropriate;
Element
h. deviations, additions to or exclusions from the sampling method and sampling plan.
Handling of test or calibration items
Does the laboratory have a procedure for the transportation, receipt, handling, protection, storage, retention, and disposal or return of test or calibration items, including all provisions necessary to protect the integrity of the test or calibration item, and to protect the interests of the laboratory and the customer? Are precautions taken to avoid deterioration, contamination, loss or damage to the item during handling, transporting, storing/waiting, and preparation for, testing or calibration. Are handling instructions provided with the item followed?
Does the laboratory have a system for the unambiguous identification of test or calibration items? Is identification retained while the item is under the responsibility of the laboratory? Does the system ensure that items will not be confused physically or when referred to in records or other documents? The system shall, if appropriate, accommodate a sub-division of an item or groups of items and the transfer of items.
Upon receipt of the test or calibration item, deviations from specified conditions are recorded? When there is doubt about the suitability of an item for test or calibration, or when an item does not conform to the description provided, does the laboratory consult the customer for further instructions before proceeding and record the results of this consultation? When the customer requires the item to be tested or calibrated acknowledging a deviation from specified conditions, does the laboratory include a disclaimer in the report indicating which results may be affected by the deviation?
When items need to be stored or conditioned under specified environmental conditions, are these conditions maintained, monitored and recorded?
Element
Technical records
Does the laboratory ensure that technical records for each laboratory activity contain the results, report and sufficient information to facilitate, if possible, identification of factors affecting the measurement result and its associated measurement uncertainty and enable the repetition of the laboratory activity under conditions as close as possible to the original? Do the technical records include the date and the identity of personnel responsible for each laboratory activity and for checking data and results? Are original observations, data and calculations recorded at the time they are made and identifiable with the specific task?
Does the laboratory shall ensure that amendments to technical records can be tracked to previous versions or to original observations? Are both the original and amended data and files kept, including the date of alteration, an indication of the altered aspects and the personnel responsible for the alterations?
Evaluation of measurement uncertainty
Does the laboratory identify the contributions to measurement uncertainty? When evaluating measurement uncertainty, all contributions which are of significance, including those arising from sampling, have been taken into account using appropriate methods of analysis?
A laboratory performing calibrations, including of its own equipment, are they evaluate the measurement uncertainty for all calibrations?
Does the laboratory performing testing evaluate measurement uncertainty? Where the test method precludes rigorous evaluation of measurement uncertainty, an estimation is made based on an understanding of the theoretical principles or practical experience of the performance of the method?
Element
Ensuring the validity of results
Does the laboratory have a procedure for monitoring the validity of results? Are resulting data recorded in such a way that trends are detectable and, where practicable, statistical techniques applied to review the results? Does this monitoring planned and reviewed and include, where appropriate, but not be limited to: a. use of reference materials or quality control materials; b. use of alternative instrumentation that has been calibrated to provide traceable results; c. functional check(s) of measuring and testing equipment; d. use of check or working standards with control charts, where applicable; e. intermediate checks on measuring equipment; f. replicate tests or calibrations using the same or different methods; g. retesting or recalibration of retained items; h. correlation of results for different characteristics of an item; i. review of reported results; j. intralaboratory comparisons; k. testing of blind sample(s).
Does the laboratory monitor its performance by comparison with results of other laboratories, where available and appropriate? Is this monitoring planned and reviewed and include, but not be limited to, either or both of the following? a. participation in proficiency testing; b. participation in interlaboratory comparisons other than proficiency testing.
Are data from monitoring activities analyzed, used to control and, if applicable, improve the laboratory’s activities? If the results of the analysis of data from monitoring activities are found to be outside pre-defined criteria, are appropriate action taken to prevent incorrect results from being reported?
Element
Reporting of results
General
Are results reviewed and authorized prior to release? The results shall be provided accurately, clearly, unambiguously and objectively, usually in a report (e.g. a test report or a calibration certificate or report of sampling) and shall include all the information agreed with the customer and necessary for the interpretation of the results and all information required by the method used. All issued reports shall be retained as technical records.
When agreed with the customer, are results reported in a simplified way? Any information listed in 7.8.2 to 7.8.7 that is not reported to the customer shall be readily available.
Common requirements for reports (test, calibration or sampling)
Does each report include at least the following information, unless the laboratory has valid reasons for not doing so, thereby minimizing any possibility of misunderstanding or misuse? a. a title (e.g. “Test Report”, “Calibration Certificate” or “Report of Sampling”); b. the name and address of the laboratory; c. the location of performance of the laboratory activities, including when performed at a customer facility or at sites away from the laboratory’s permanent facilities, or in associated temporary or mobile facilities; d. unique identification that all its components are recognized as a portion of a complete report and a clear identification of the end; e. the name and contact information of the customer; f. identification of the method used; g. a description, unambiguous identification, and, when necessary, the condition of the item; h. the date of receipt of the test or calibration item(s), and the date of sampling, where this is critical to the validity and application of the results; i. the date(s) of performance of the laboratory activity; j. the date of issue of the report;
Element
k. reference to the sampling plan and sampling method used by the laboratory or other bodies where these are relevant to the validity or application of the results; l. a statement to the effect that the results relate only to the items tested, calibrated or sampled; m. the results with, where appropriate, the units of measurement; n. additions to, deviations, or exclusions from the method; o. identification of the person(s) authorizing the report; p. clear identification when results are from external providers.
Does the laboratory responsible for all the information provided in the report, except when information is provided by the customer? Are data provided by a customer clearly identified? In addition, a disclaimer shall be put on the report when the information is supplied by the customer and can affect the validity of results. Where the laboratory has not been responsible for the sampling stage (e.g. the sample has been provided by the customer), it shall state in the report that the results apply to the sample as received.
Specific requirements for test reports
In addition to the requirements listed in 7.8.2, are test reports, where necessary for the interpretation of the test results, included the following: a. information on specific test conditions, such as environmental conditions; b. where relevant, a statement of conformity with requirements or specifications (see 7.8.6); c. where applicable, the measurement uncertainty presented in the same unit as that of the measurand or in a term relative to the measurand (e.g. percent) when: — it is relevant to the validity or application of the test results; — a customer’s instruction so requires, or — the measurement uncertainty affects conformity to a specification limit; d. where appropriate, opinions and interpretations (see 7.8.7); e. additional information which may be required by specific methods, authorities, customers or groups of customers.
Element
Where the laboratory is responsible for the sampling activity, are test reports meet the requirements listed in 7.8.5 where necessary for the interpretation of test results?
Specific requirements for calibration certificates
In addition to the requirements listed in 7.8.2, does the calibration certificates include the following? a. the measurement uncertainty of the measurement result presented in the same unit as that of the measurand or in a term relative to the measurand (e.g. percent); NOTE According to JCGM 200:2012, a measurement result is generally expressed as a single measured quantity value including unit of measurement and a measurement uncertainty. b. the conditions (e.g. environmental) under which the calibrations were made that have an influence on the measurement results; c. a statement identifying how the measurements are metrologically traceable; d. the results before and after any adjustment or repair, if available; e. where relevant, a statement of conformity with requirements or specifications (see 7.8.6); f. where appropriate, opinions and interpretations (see 7.8.7).
Where the laboratory is responsible for the sampling activity, does the calibration certificates meet the requirements listed in 7.8.5 where necessary for the interpretation of test results?
A calibration certificate or calibration label shall not contain any recommendation on the calibration interval except where this has been agreed with the customer.
Reporting sampling–specific requirements Where the laboratory is responsible for the sampling activity, in addition to the requirements listed in 7.8.2, does reports include the following, where necessary for the interpretation of results: a. the date of sampling; b. unique identification of the item or material sampled (including the name of the manufacturer, the model or type of designation and serial numbers as appropriate);
Element
c. the location of sampling, including any diagrams, sketches or photographs; d. a reference to the sampling plan and sampling method; e. details of any environmental conditions during sampling that affect the interpretation of the test results; f. Information required to evaluate measurement uncertainty for subsequent testing or calibration.
Reporting statements of conformity
When a statement of conformity to a specification or standard is provided, does the laboratory document the decision rule employed, taking into account the level of risk (such as false accept and false reject and statistical assumptions) associated with the decision rule employed and apply the decision rule?
Does the laboratory report on the statement of conformity? such that the statement clearly identifies: a. to which results the statement of conformity applies; b. which specifications, standards or parts thereof are met or not met; c. the decision rule applied (unless it is inherent in the requested specification or standard).
Reporting opinions and interpretations
When opinions and interpretations are expressed, does the laboratory ensure that only personnel authorized for the expression of opinions and interpretations releases the respective statement? Does the laboratory document the basis upon which the opinions and interpretations have been made?
The opinions and interpretations expressed in reports is it based on the results obtained from the tested or calibrated item and shall be clearly identified as such?
When opinions and interpretations are directly communicated by dialogue with the customer, a record of the dialogue are retained?
Element
Amendments to reports
When an issued report needs to be changed, amended or re-issued, any change of information is clearly identified and, where appropriate, the reason for the change included in the report?
Are amendments to a report after issue made only in the form of a further document, or data transfer, which includes the statement “Amendment to Report, serial number... [or as otherwise identified]”, or an equivalent form of wording? Such amendments shall meet all the requirements of this document.
When it is necessary to issue a completely new report, is it uniquely identified and contain a reference to the original that it replaces?
Complaints
Does the laboratory have a documented process to receive, evaluate and make decisions on complaints?
Is description of the handling process for complaints available to any interested party on request? Upon receipt of a complaint, does the laboratory confirm whether the complaint relates to laboratory activities that it is responsible for and, if so, shall deal with it? Is the laboratory responsible for all decisions at all levels of the handling process for complaints?
Does the process for handling complaints include at least the following elements and methods: a.description of the process for receiving, validating, investigating the complaint, and deciding what actions are to be taken in response to it; b.tracking and recording complaints, including actions undertaken to resolve them; c. ensuring that any appropriate action is taken.
When laboratory receiving the complaint is it responsible for gathering and verifying all necessary information to validate the complaint?
Whenever possible, does the laboratory acknowledge receipt of the complaint, and provide the complainant with progress reports and the outcome?
Element
The outcomes to be communicated to the complainant are made by, or reviewed and approved by, individual(s) not involved in the original laboratory activities in question?
Whenever possible, does the laboratory give formal notice of the end of the complaint handling to the complainant?
Nonconforming work
Does the laboratory have a procedure that implemented when any aspect of its laboratory activities or results of this work do not confirm to its own procedures or the agreed requirements of the customer? (e.g. equipment or environmental conditions are out of specified limits, results of monitoring fail to meet specified criteria). The procedure shall ensure that: a. the responsibilities and authorities for the management of nonconforming work are defined; b. actions (including halting or repeating of work and withholding of reports, as necessary) are based upon the risk levels established by the laboratory; c. an evaluation is made of the significance of the nonconforming work, including an impact analysis on previous results; d. a decision is taken on the acceptability of the nonconforming work; e. where necessary, the customer is notified and work is recalled; f. the responsibility for authorizing the resumption of work is defined.
Does the laboratory retain records of nonconforming work and actions as specified in 7.10.1, bullets b) to f)?
Where the evaluation indicates that the nonconforming work could recur, or that there is doubt about the conformity of the laboratory’s operations with its own management system, does the laboratory implement corrective action?
Control of data and information management
Does the laboratory have access to the data and information needed to perform laboratory activities?
Element
The laboratory information management system(s) used for the collection, processing, recording, reporting, storage or retrieval of data are validated for functionality, including the proper functioning of interfaces within the laboratory information management system(s) by the laboratory before introduction? Whenever there are any changes, including laboratory software configuration or modifications to commercial off-the-shelf software, are they authorized, documented and validated before implementation?
Does the laboratory information management system(s): a. be protected from unauthorized access; b. be safeguarded against tampering and loss; c. be operated in an environment that complies with supplier or laboratory specifications or, in the case of non-computerized systems, provides conditions which safeguard the accuracy of manual recording and transcription; d. be maintained in a manner that ensures the integrity of the data and information; e. include recording system failures and the appropriate immediate and corrective actions.
When a laboratory information management system is managed and maintained off-site or through an external provider, does the laboratory ensure that the provider or operator of the system complies with all applicable requirements of this document?
Does the laboratory ensure that instructions, manuals and reference data relevant to the laboratory information management system(s) are made readily available to personnel?
Are calculations and data transfers checked in an appropriate and systematic manner?
Management system requirements
Options
Element
General Does the laboratory establish, document, implement and maintain a management system that is capable of supporting and demonstrating the consistent achievement of the requirements of this document and assuring the quality of the laboratory results? In addition to meeting the requirements of Clauses 4 to 7, the laboratory shall implement a management system in accordance with Option A or Option B.
Option A
As a minimum, does the management system of the laboratory address the following? - management system documentation (see 8.2) - control of management system documentation (see 8.3) - control of records (see 8.4) - actions to address risks and opportunities (see 8.5) - improvement (see 8.6) - corrective actions (see 8.7) - internal audits (see 8.8) - management reviews (see 8.9)
Option B A laboratory that has established and maintains a management system, in accordance with the requirements of ISO 9001, and that is capable of supporting and demonstrating the consistent fulfilment of the requirements of Clauses 4 to 7, also fulfils at least the intent of the management system requirements specified in 8.2 to 8.9.
Management system documentation (Option A)
Does the laboratory management establish, document, and maintain policies and objectives for the fulfilment of the purposes of this document and ensure that the policies and objectives are acknowledged and implemented at all levels of the laboratory organization?
Are policies and objectives address the competence, impartiality and consistent operation of the laboratory?
Element
Does the laboratory management provide evidence of commitment to the development and implementation of the management system and to continually improving its effectiveness?
Are all documentation, processes, systems, records, related to the fulfilment of the requirements of this document included in, referenced from, or linked to the management system?
Are all personnel involved in laboratory activities have access to the parts of the management system documentation and related information that are applicable to their responsibilities?
Control of management system documents (Option A)
Does the laboratory control the documents (internal and external) that relate to the fulfillment of this document?
Does the laboratory ensure that: a. documents are approved for adequacy prior to issue by authorized personnel; b. documents are periodically reviewed, and updated as necessary; c. changes and the current revision status of documents are identified; d. relevant versions of applicable documents are available at points of use and, where necessary, their distribution is controlled; e. documents are uniquely identified; f. the unintended use of obsolete documents is prevented, and suitable identification is applied to them if they are retained for any purpose.
Control of records (Option A)
Does the laboratory establish and retain legible records to demonstrate fulfillment of the requirements in this document?
Does the laboratory implement the controls needed for the identification, storage, protection, back-up, archive, retrieval, retention time, and disposal of its records? Does the laboratory retain records for a period consistent with its contractual obligations? Are access to these records consistent with the confidentiality commitments and records readily available?
Actions to address risks and opportunities (Option A)
Element
Does the laboratory consider the risks and opportunities associated with the laboratory activities in order to: a. give assurance that the management system achieves its intended results; b. enhance opportunities to achieve the purpose and objectives of the laboratory; c. prevent, or reduce, undesired impacts and potential failures in the laboratory activities; d. achieve improvement.
Does the laboratory plan: a. actions to address these risks and opportunities; b. how to: - integrate and implement these actions into its management system - evaluate the effectiveness of these actions
Are actions taken to address risks and opportunities proportional to the potential impact on the validity of laboratory results?
Improvement (Option A)
Does the laboratory identify and select opportunities for improvement and implement any necessary actions?
Does the laboratory seek feedback, both positive and negative, from its customers? Are feedbacks analyzed and used to improve the management system, laboratory activities and customer service?
Corrective action (Option A)
When a nonconformity occurs, does the laboratory: a. react to the nonconformity and, as applicable: — take action to control and correct it; — address the consequences; b. evaluate the need for action to eliminate the cause(s) of the nonconformity, in order that it does not recur or occur elsewhere, by: — reviewing and analyzing the nonconformity; — determining the causes of the nonconformity; — determining if similar nonconformities exist, or could potentially occur; c. implement any action needed;
Element
d. review the effectiveness of any corrective action taken; e. update risks and opportunities determined during planning, if necessary; f. make changes to the management system, if necessary.
Are corrective actions appropriate to the effects of the nonconformities encountered?
Does the laboratory retain records as evidence of: a) the nature of the nonconformities, cause(s) and any subsequent actions taken; b) the results of any corrective action.
Internal audits (Option A)
Does the laboratory conduct internal audits at planned intervals to provide information on whether the management system: a. conforms to: — the laboratory’s own requirements for its management system, including the laboratory activities; — the requirements of this document; b. is effectively implemented and maintained.
Does the laboratory: a. plan, establish, implement and maintain an audit programme including the frequency, methods, responsibilities, planning requirements and reporting, which shall take into consideration the importance of the laboratory activities concerned, changes affecting the laboratory, and the results of previous audits; b. define the audit criteria and scope for each audit; c. ensure that the results of the audits are reported to relevant management; d. implement appropriate correction and corrective actions without undue delay; e. retain records as evidence of the implementation of the audit programme and the audit results.
Management reviews (Option A)
Element
Does the laboratory management review its management system at planned intervals, in order to ensure its continuing suitability, adequacy and effectiveness, including the stated policies and objectives related to the fulfilment of this document?
Are inputs to management review recorded and included information related to the following? changes in internal and external issues that are relevant to the laboratory; fulfilment of objectives; suitability of policies and procedures; status of actions from previous management reviews; outcome of recent internal audits; corrective actions; assessments by external bodies; changes in the volume and type of the work or in the range of laboratory activities; customer and personnel feedback; complaints; effectiveness of any implemented improvements; adequacy of resources; results of risk identification; outcomes of the assurance of the validity of results; and other relevant factors, such as monitoring activities and training.
Are outputs from the management review recorded all decisions and actions related to? at least the effectiveness of the management system and its processes; improvement of the laboratory activities related to the fulfillment of the requirements of this document; provision of required resources; any need for change.
Element